{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["封皮 ","清单","Sheet1"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封皮 ","index":0,"n_rows":11,"n_cols":5,"rows_kept":11,"merged":[[0,0,0,1],[0,2,0,3],[1,0,1,4],[2,0,2,2],[2,3,2,4],[3,0,3,2],[3,3,3,4],[4,0,4,2],[4,3,4,4],[5,0,5,2],[5,3,5,4],[6,1,6,2],[6,3,6,4],[7,1,7,2],[7,3,7,4],[8,1,8,2],[8,3,8,4],[9,1,9,2],[9,3,9,4],[10,1,10,2],[10,3,10,4],[11,1,11,2],[11,3,11,4],[12,0,12,1],[12,2,12,3]],"flags":["formulas_cached_only"]}
[null,null,"新能源汽车零部件产业园项目第三方检测",null,"工程"]
["投  标  总  价"]
["招     标    人：",null,null,"沈阳新鸿城市建设发展有限公司"]
["工  程   名  称：",null,null,"新能源汽车零部件产业园项目第三方检测"]
["投标总价（小写）：",null,null,0]
["        （大写）：",null,null,"零"]
[]
["投  标  人："]
[{"$nulls":3},"(单位盖章)"]
["法定代表人\n或其授权人："]
[{"$nulls":3},"(签字或盖章)"]

{"sheet":"清单","index":1,"n_rows":88,"n_cols":7,"rows_kept":88,"merged":[[0,0,0,6],[87,0,87,6]],"flags":["formulas_cached_only"]}
["新能源汽车零部件产业园项目第三方检测工程清单"]
["项目名称：新能源汽车零部件产业园项目"]
["序号","材料/项目名称","单位","工程量","单价（元）","总价（元）","备注"]
["一","土建工程"]
["（一）","原材料检测"]
[1,"水泥进场检验检测报告","项",1,null,0]
[2,"砂、石进场检验检测报","项",1,null,0]
[3,"砌块进场检验检测报","项",1,null,0]
[4,"钢筋进场检验检测报","项",1,null,0]
[5,"防水材料进场检验检测报","项",1,null,0]
[6,"外加剂进场检验检测报","项",1,null,0]
[7,"预应力筋进场检验检测报","项",1,null,0]
[8,"预应力锚具、夹具和连接器进场检验检测报","项",1,null,0]
[9,"装饰装修用门窗","项",1,null,0]
[10,"装饰装修用石材","项",1,null,0]
[11,"装饰装修用外墙面砖","项",1,null,0]
[12,"钢结构用钢材","项",1,null,0]
[14,"钢结构用高强度大六角螺栓连接副","项",1,null,0]
[15,"钢结构用扭剪型高强度螺栓连接副","项",1,null,0]
[16,"幕墙用铝塑板、石材、结构胶","项",1,null,0]
["（二）","施工试验记录"]
[1,"钢筋机械连接","项",1,null,0]
[2,"钢筋焊接件","项",1,null,0]
[3,"砂浆配合比验证","项",1,null,0]
[4,"砂浆抗压强度","项",1,null,0]
[5,"混凝土配合比验证","项",1,null,0]
[6,"混凝土抗压强度","项",1,null,0]
[7,"混凝土抗渗","项",1,null,0]
[8,"砂、石、水泥放射性","项",1,null,0]
[9,"混凝土碱总量计算书","项",1,null,0]
[10,"外墙饰面砖样板粘结强度检验检测报告","项",1,null,0]
[11,"后置埋件抗拉拔检验检测报告","项",1,null,0]
[12,"钢结构焊缝超声波探伤","项",1,null,0]
[13,"高强度螺栓抗滑移系数检验检测报告","项",1,null,0]
[14,"网架节点承载力检验检测报告","项",1,null,0]
[15,"钢结构防腐、防火涂料厚度检验检测报告","项",1,null,0]
[16,"幕墙双组份硅酮结构胶混匀性及拉断检验检测报告","项",1,null,0]
[17,"建筑外门窗三性检验检测报告","项",1,null,0]
[18,"结构实体混凝土强度检验检测报告（回弹-取芯法）","项",1,null,0]
[19,"结构实体钢筋保护层厚度检测","项",1,null,0]
[20,"结构实体位置与尺寸偏差检验","项",1,null,0]
[21,"室内环境检测（根据GB50325-2020,检测内容为：苯、甲苯、二甲苯、氨、甲醛、TVOC、氡）","项",1,null,0]
["二","建筑给排水及供暖工程"]
["（一）","原材料检测"]
[1,"塑料管材、管件、阀门检测报告","项",1,null,0]
["（二）","施工试验记录"]
[1,"管道强度、严密性试验","项",1,null,0]
["三","建筑电气工程"]
["（一）","原材料检测"]
[1,"开关","项",1,null,0]
[2,"插座","项",1,null,0]
[3,"建筑用绝缘电线（缆）导管检测报告","项",1,null,0]
[4,"聚氯乙烯绝缘电线（缆）（450/750）检测报告","项",1,null,0]
[5,"建筑用阻燃材料检测报告","项",1,null,0]
[6,"电缆在火焰条件下燃烧的检测报告","项",1,null,0]
["四","建筑节能工程"]
["（一）","原材料检测"]
[1,"保温隔热材料的导热系数或热阻、密度、压缩强度或抗压强度、垂直于板面方向的抗拉强度、吸水率、燃烧性能（不燃材料除外）检测报告","项",1,null,0]
[2,"复合保温板等墙体节能定型产品的传热系数或热阻、单位面积质量、拉伸粘结强度、燃烧性能（不燃材料除外）检测报告","项",1,null,0]
[3,"保温砌块等墙体节能定型产品的传热系数或热阻、抗压强度、吸水率检测报告","项",1,null,0]
[4,"粘结材料的拉伸粘结强度检测报告","项",1,null,0]
[5,"抹面材料的拉伸粘结强度、压折比检测报告","项",1,null,0]
[6,"增强网的力学性能、抗腐蚀性能检测报告","项",1,null,0]
[7,"隔热型材的抗拉强度、抗剪强度检测报告","项",1,null,0]
[8,"门窗的传热系数、气密性检测报告","项",1,null,0]
[10,"风机盘管机组的供冷量、供热量、风量、水阻力、功率及噪声检测报告","项",1,null,0]
[11,"绝热材料的导热系数或热阻、密度、吸水率检测报告","项",1,null,0]
["（二）","施工试验记录"]
[1,"保温浆料同条件试件导热系数、干密度和抗压强度检测报告","项",1,null,0]
[2,"保温板材与基层拉伸粘结强度现场拉拔检测报告","项",1,null,0]
[3,"保温层锚固件锚固力现场拉拔检测报告","项",1,null,0]
[4,"外墙节能构造实体检测报告","项",1,null,0]
[5,"外墙传热系数检测报告","项",1,null,0]
[6,"外窗气密性能现场实体检测报告","项",1,null,0]
[7,"幕墙气密性能现场实体检测报告","项",1,null,0]
[8,"室内平均温度检测","项",1,null,0]
[9,"通风、空调（包括新风）系统的风量检测报告","项",1,null,0]
[10,"各风口风量检测报告","项",1,null,0]
[11,"风道系统单位风量耗功率检测报告","项",1,null,0]
[12,"空调机组的水流量检测报告","项",1,null,0]
[13,"空调系统冷水、热水、冷却水的循环流量检测报告","项",1,null,0]
[14,"室外供暖管网水力平衡度检测报告","项",1,null,0]
[15,"室外供暖管网热损失率检测报告","项",1,null,0]
[16,"照度与照明功率密度检测报告","项",1,null,0]
[null,"小计（不含税金额）","元",null,null,0]
[null,"税金",{"v":0.06,"d":"6%"},null,null,0]
[null,"合计（含税金额）","元",null,null,0]
["以上要求为不限于，具体按设计施工图纸为准，需涵盖全部材料、主体类及性能类检测，检测报告必须符合国家规范要求，确保交档。\n检测单位资质符合要求且必须为质监站认可单位，黑名单企业不可参与。上述检测内容需检测单位资质涵盖检测项目。\n除防雷、自来水、电梯、耐火极限检测以外的图纸内的所有项材料、性能等检测全部含在内不再另行计取费用。确保竣工验收检测材料齐全符合政府相关部门要求。\n技术服务方式:检验/检测，并出具相应的检验/检测报告。"]

{"sheet":"Sheet1","index":2,"n_rows":86,"n_cols":4,"rows_kept":86,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["建筑工程检测清单（依据DB21/T1342-2021建筑工程文件编制归档规程）"]
["序号","编号","材料/项目名称","备注"]
["一","C4","土建工程"]
["（一）","C4-1","原材料检测"]
[1,null,"水泥进场检验检测报告"]
[2,null,"砂、石进场检验检测报"]
[3,null,"砌块进场检验检测报"]
[4,null,"钢筋进场检验检测报"]
[5,null,"防水材料进场检验检测报"]
[6,null,"外加剂进场检验检测报"]
[7,null,"预应力筋进场检验检测报"]
[8,null,"预应力锚具、夹具和连接器进场检验检测报"]
[9,null,"装饰装修用门窗"]
[10,null,"装饰装修用石材"]
[11,null,"装饰装修用外墙面砖"]
[12,null,"钢结构用钢材"]
[13,null,"钢结构用焊接材料","检不了"]
[14,null,"钢结构用高强度大六角螺栓连接副"]
[15,null,"钢结构用扭剪型高强度螺栓连接副"]
[16,null,"幕墙用铝塑板、石材、结构胶"]
["（二）","C4-3","施工试验记录"]
[1,null,"钢筋机械连接"]
[2,null,"钢筋焊接件"]
[3,null,"砂浆配合比验证"]
[4,null,"砂浆抗压强度"]
[5,null,"混凝土配合比验证"]
[6,null,"混凝土抗压强度"]
[7,null,"混凝土抗渗"]
[8,null,"砂、石、水泥放射性"]
[9,null,"混凝土碱总量计算书"]
[10,null,"外墙饰面砖样板粘结强度检验检测报告"]
[11,null,"后置埋件抗拉拔检验检测报告"]
[12,null,"钢结构焊缝超声波探伤"]
[13,null,"高强度螺栓抗滑移系数检验检测报告"]
[14,null,"网架节点承载力检验检测报告"]
[15,null,"钢结构防腐、防火涂料厚度检验检测报告"]
[16,null,"幕墙双组份硅酮结构胶混匀性及拉断检验检测报告"]
[17,null,"建筑外门窗三性检验检测报告"]
[18,null,"结构实体混凝土强度检验检测报告（回弹-取芯法）"]
[19,null,"结构实体钢筋保护层厚度检测"]
[20,null,"结构实体位置与尺寸偏差检验"]
[21,null,"室内环境检测（根据GB50325-2020,检测内容为：苯、甲苯、二甲苯、氨、甲醛、TVOC、氡）"]
["二","C5","建筑给排水及供暖工程"]
["（一）","C5-1","原材料检测"]
[1,null,"塑料管材、管件、阀门检测报告"]
[null,"C5-3","施工试验记录"]
[1,null,"管道强度、严密性试验"]
["三","C7","建筑电气工程"]
["（一）","C7-1","原材料检测"]
[1,null,"开关"]
[2,null,"插座"]
[3,null,"建筑用绝缘电线（缆）导管检测报告"]
[4,null,"聚氯乙烯绝缘电线（缆）（450/750）检测报告"]
[5,null,"建筑用阻燃材料检测报告"]
[6,null,"电缆在火焰条件下燃烧的检测报告"]
["四","C10","建筑节能工程"]
["（一）","C10-1","原材料检测"]
[1,null,"保温隔热材料的导热系数或热阻、密度、压缩强度或抗压强度、垂直于板面方向的抗拉强度、吸水率、燃烧性能（不燃材料除外）检测报告"]
[2,null,"复合保温板等墙体节能定型产品的传热系数或热阻、单位面积质量、拉伸粘结强度、燃烧性能（不燃材料除外）检测报告"]
[3,null,"保温砌块等墙体节能定型产品的传热系数或热阻、抗压强度、吸水率检测报告"]
[4,null,"粘结材料的拉伸粘结强度检测报告"]
[5,null,"抹面材料的拉伸粘结强度、压折比检测报告"]
[6,null,"增强网的力学性能、抗腐蚀性能检测报告"]
[7,null,"隔热型材的抗拉强度、抗剪强度检测报告"]
[8,null,"门窗的传热系数、气密性检测报告"]
[9,null,"散热器的单位散热量、金属热强度报告","检不了"]
[10,null,"风机盘管机组的供冷量、供热量、风量、水阻力、功率及噪声检测报告"]
[11,null,"绝热材料的导热系数或热阻、密度、吸水率检测报告"]
[12,null,"照明光源（灯具）检测报告","检不了"]
["（二）","C10-3","施工试验记录"]
[1,null,"保温浆料同条件试件导热系数、干密度和抗压强度检测报告"]
[2,null,"保温板材与基层拉伸粘结强度现场拉拔检测报告"]
[3,null,"保温层锚固件锚固力现场拉拔检测报告"]
[4,null,"外墙节能构造实体检测报告"]
[5,null,"外墙传热系数检测报告"]
[6,null,"外窗气密性能现场实体检测报告"]
[7,null,"幕墙气密性能现场实体检测报告"]
[8,null,"室内平均温度检测"]
[9,null,"通风、空调（包括新风）系统的风量检测报告"]
[10,null,"各风口风量检测报告"]
[11,null,"风道系统单位风量耗功率检测报告"]
[12,null,"空调机组的水流量检测报告"]
[13,null,"空调系统冷水、热水、冷却水的循环流量检测报告"]
[14,null,"室外供暖管网水力平衡度检测报告"]
[15,null,"室外供暖管网热损失率检测报告"]
[16,null,"照度与照明功率密度检测报告"]