{"text_format":"3","workbook":"xls","n_sheets":7,"sheets":["表-08 分部分项工程和单价措施项目清单与计价表","表-11 总价措施项目清单与计价表","表-12 其他项目清单与计价汇总表","表-12-1 暂列金额表","表-12-4 计日工表","表-13 规费、税金项目清单与计价表","表-23 主要材料和工程设备选用表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表","index":0,"n_rows":123,"n_cols":14,"rows_kept":123,"merged":[[0,0,0,10],[0,11,0,13],[1,0,1,13],[2,0,2,5],[2,6,2,10],[2,11,2,13],[3,0,5,0],[3,1,5,2],[3,3,5,4],[3,5,5,6],[3,7,5,7],[3,8,5,9],[3,10,3,13],[4,10,5,11],[4,12,5,12],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,4],[7,5,7,6],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,4],[8,5,8,6],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,4],[9,5,9,6],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,4],[10,5,10,6],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,4],[11,5,11,6],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,4],[12,5,12,6],[12,8,12,9],[12,10,12,11],[13,0,13,9],[13,10,13,11],[14,0,14,1],[14,2,14,3],[14,4,14,5],[14,6,14,8],[14,9,14,10],[14,11,14,13],[15,0,15,10],[15,11,15,13],[16,0,16,13],[17,0,17,5],[17,6,17,10],[17,11,17,13],[18,0,20,0],[18,1,20,2],[18,3,20,4],[18,5,20,6],[18,7,20,7],[18,8,20,9],[18,10,18,13],[19,10,20,11],[19,12,20,12],[21,1,21,2],[21,3,21,4],[21,5,21,6],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,4],[22,5,22,6],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,4],[23,5,23,6],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,4],[24,5,24,6],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,4],[25,5,25,6],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,4],[26,5,26,6],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,4],[27,5,27,6],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,4],[28,5,28,6],[28,8,28,9],[28,10,28,11],[29,0,29,9],[29,10,29,11],[30,0,30,1],[30,2,30,3],[30,4,30,5],[30,6,30,8],[30,9,30,10],[30,11,30,13],[31,0,31,10],[31,11,31,13],[32,0,32,13],[33,0,33,5],[33,6,33,10],[33,11,33,13],[34,0,36,0],[34,1,36,2],[34,3,36,4],[34,5,36,6],[34,7,36,7],[34,8,36,9],[34,10,34,13],[35,10,36,11],[35,12,36,12],[37,1,37,2],[37,3,37,4],[37,5,37,6],[37,8,37,9],[37,10,37,11],[38,1,38,2],[38,3,38,4],[38,5,38,6],[38,8,38,9],[38,10,38,11],[39,1,39,2],[39,3,39,4],[39,5,39,6],[39,8,39,9],[39,10,39,11],[40,1,40,2],[40,3,40,4],[40,5,40,6],[40,8,40,9],[40,10,40,11],[41,1,41,2],[41,3,41,4],[41,5,41,6],[41,8,41,9],[41,10,41,11],[42,1,42,2],[42,3,42,4],[42,5,42,6],[42,8,42,9],[42,10,42,11],[43,1,43,2],[43,3,43,4],[43,5,43,6],[43,8,43,9],[43,10,43,11],[44,1,44,2],[44,3,44,4],[44,5,44,6],[44,8,44,9],[44,10,44,11],[45,1,45,2],[45,3,45,4],[45,5,45,6],[45,8,45,9],[45,10,45,11],[46,0,46,9],[46,10,46,11],[47,0,47,1],[47,2,47,3],[47,4,47,5],[47,6,47,8],[47,9,47,10],[47,11,47,13],[48,0,48,10],[48,11,48,13],[49,0,49,13],[50,0,50,5],[50,6,50,10],[50,11,50,13],[51,0,53,0],[51,1,53,2],[51,3,53,4],[51,5,53,6],[51,7,53,7],[51,8,53,9],[51,10,51,13],[52,10,53,11],[52,12,53,12],[54,1,54,2],[54,3,54,4],[54,5,54,6],[54,8,54,9],[54,10,54,11],[55,1,55,2],[55,3,55,4],[55,5,55,6],[55,8,55,9],[55,10,55,11],[56,1,56,2],[56,3,56,4],[56,5,56,6],[56,8,56,9],[56,10,56,11],[57,1,57,2],[57,3,57,4],[57,5,57,6],[57,8,57,9],[57,10,57,11],[58,1,58,2],[58,3,58,4],[58,5,58,6],[58,8,58,9],[58,10,58,11],[59,1,59,2],[59,3,59,4],[59,5,59,6],[59,8,59,9],[59,10,59,11],[60,1,60,2],[60,3,60,4],[60,5,60,6],[60,8,60,9],[60,10,60,11],[61,1,61,2],[61,3,61,4],[61,5,61,6],[61,8,61,9],[61,10,61,11],[62,1,62,2],[62,3,62,4],[62,5,62,6],[62,8,62,9],[62,10,62,11],[63,1,63,2],[63,3,63,4],[63,5,63,6],[63,8,63,9],[63,10,63,11],[64,1,64,2],[64,3,64,4],[64,5,64,6],[64,8,64,9],[64,10,64,11],[65,0,65,9],[65,10,65,11],[66,0,66,1],[66,2,66,3],[66,4,66,5],[66,6,66,8],[66,9,66,10],[66,11,66,13],[67,0,67,10],[67,11,67,13],[68,0,68,13],[69,0,69,5],[69,6,69,10],[69,11,69,13],[70,0,72,0],[70,1,72,2],[70,3,72,4],[70,5,72,6],[70,7,72,7],[70,8,72,9],[70,10,70,13],[71,10,72,11],[71,12,72,12],[73,1,73,2],[73,3,73,4],[73,5,73,6],[73,8,73,9],[73,10,73,11],[74,1,74,2],[74,3,74,4],[74,5,74,6],[74,8,74,9],[74,10,74,11],[75,1,75,2],[75,3,75,4],[75,5,75,6],[75,8,75,9],[75,10,75,11],[76,1,76,2],[76,3,76,4],[76,5,76,6],[76,8,76,9],[76,10,76,11],[77,1,77,2],[77,3,77,4],[77,5,77,6],[77,8,77,9],[77,10,77,11],[78,1,78,2],[78,3,78,4],[78,5,78,6],[78,8,78,9],[78,10,78,11],[79,1,79,2],[79,3,79,4],[79,5,79,6],[79,8,79,9],[79,10,79,11],[80,1,80,2],[80,3,80,4],[80,5,80,6],[80,8,80,9],[80,10,80,11],[81,1,81,2],[81,3,81,4],[81,5,81,6],[81,8,81,9],[81,10,81,11],[82,1,82,2],[82,3,82,4],[82,5,82,6],[82,8,82,9],[82,10,82,11],[83,0,83,9],[83,10,83,11],[84,0,84,1],[84,2,84,3],[84,4,84,5],[84,6,84,8],[84,9,84,10],[84,11,84,13],[85,0,85,10],[85,11,85,13],[86,0,86,13],[87,0,87,5],[87,6,87,10],[87,11,87,13],[88,0,90,0],[88,1,90,2],[88,3,90,4],[88,5,90,6],[88,7,90,7],[88,8,90,9],[88,10,88,13],[89,10,90,11],[89,12,90,12],[91,1,91,2],[91,3,91,4],[91,5,91,6],[91,8,91,9],[91,10,91,11],[92,1,92,2],[92,3,92,4],[92,5,92,6],[92,8,92,9],[92,10,92,11],[93,1,93,2],[93,3,93,4],[93,5,93,6],[93,8,93,9],[93,10,93,11],[94,1,94,2],[94,3,94,4],[94,5,94,6],[94,8,94,9],[94,10,94,11],[95,1,95,2],[95,3,95,4],[95,5,95,6],[95,8,95,9],[95,10,95,11],[96,1,96,2],[96,3,96,4],[96,5,96,6],[96,8,96,9],[96,10,96,11],[97,1,97,2],[97,3,97,4],[97,5,97,6],[97,8,97,9],[97,10,97,11],[98,1,98,2],[98,3,98,4],[98,5,98,6],[98,8,98,9],[98,10,98,11],[99,1,99,2],[99,3,99,4],[99,5,99,6],[99,8,99,9],[99,10,99,11],[100,0,100,9],[100,10,100,11],[101,0,101,1],[101,2,101,3],[101,4,101,5],[101,6,101,8],[101,9,101,10],[101,11,101,13],[102,0,102,10],[102,11,102,13],[103,0,103,13],[104,0,104,5],[104,6,104,10],[104,11,104,13],[105,0,107,0],[105,1,107,2],[105,3,107,4],[105,5,107,6],[105,7,107,7],[105,8,107,9],[105,10,105,13],[106,10,107,11],[106,12,107,12],[108,1,108,2],[108,3,108,4],[108,5,108,6],[108,8,108,9],[108,10,108,11],[109,1,109,2],[109,3,109,4],[109,5,109,6],[109,8,109,9],[109,10,109,11],[110,1,110,2],[110,3,110,4],[110,5,110,6],[110,8,110,9],[110,10,110,11],[111,1,111,2],[111,3,111,4],[111,5,111,6],[111,8,111,9],[111,10,111,11],[112,1,112,2],[112,3,112,4],[112,5,112,6],[112,8,112,9],[112,10,112,11],[113,1,113,2],[113,3,113,4],[113,5,113,6],[113,8,113,9],[113,10,113,11],[114,1,114,2],[114,3,114,4],[114,5,114,6],[114,8,114,9],[114,10,114,11],[115,1,115,2],[115,3,115,4],[115,5,115,6],[115,8,115,9],[115,10,115,11],[116,1,116,2],[116,3,116,4],[116,5,116,6],[116,8,116,9],[116,10,116,11],[117,1,117,2],[117,3,117,4],[117,5,117,6],[117,8,117,9],[117,10,117,11],[118,1,118,2],[118,3,118,4],[118,5,118,6],[118,8,118,9],[118,10,118,11],[119,1,119,2],[119,3,119,4],[119,5,119,6],[119,8,119,9],[119,10,119,11],[120,0,120,9],[120,10,120,11],[121,0,121,9],[121,10,121,11],[122,0,122,1],[122,2,122,3],[122,4,122,5],[122,6,122,8],[122,9,122,10],[122,11,122,13]],"flags":["formulas_cached_only"]}
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":10},"第  1  页  共  7  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":3},"管网部分"]
[1,"041001006001",null,"拆除混凝土管道",null,"1.名称:拆除现状钢筋混凝土污水管道DN300\n2.要求:包含拆除的排水管抽排、拆除、外运，运距由施工单位自行考虑\n3、其它：满足图纸、招标文件及相关技术规范要求等",null,"100m",2.1]
[2,"040501004009",null,"塑料管安装(胶圈接口)",null,"1.名称：塑料管安装\n2.规格、型号:DN300\n3.管道材质：HDPE双壁波纹管\n4.连接方式：承插橡胶圈接口\n5.工作内容：检查及清扫管材、切管、安装、上胶圈、对口、调直.\n6.其它：满足图纸、招标文件及相关技术规范要求等",null,"10m",20.62]
[3,"040501015004",null,"管道闭水试验",null,"1.名称：管道闭水试验\n2.规格、型号:DN300\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"100m",2.22]
[4,"041001007002",null,"拆除检查井",null,"1.名称:拆除φ1000原有圆形检查井\n2.要求:包含拆除的检查井的抽排、外运，井盖残值处理、运距由施工单位自行考虑\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"座",23]
[5,"040504002039",null,"φ1000预制装配式钢筋混凝土排水检查井",null,"1.名称：成品混凝土预制井\n2.规格、型号：φ1000\n3.工作内容：1.运构件,坑底平整夯实,拼装壁、底、盖,清理现场.2.调制砂浆，搭拆简易脚手架,材料运输等.3.调制砂浆,铺灰,安装.4.井盖井安装\n4.其它：满足图纸、招标文件及相关技术规范要求等",null,"座",23]
[6,"040504008003",null,"成品预制混凝土化粪池拼装",null,"1.名称：成品预制混凝土化粪池拼装",null,"套",1]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":10},"第  2  页  共  7  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":5},"2.规格、型号：16m3\n3.工作内容：1.运构件,坑底平整夯实,拼装壁、底、盖,清理现场.2.调制砂浆，搭拆简易脚手架,材料运输等.3.调制砂浆,铺灰,安装.4.井盖井安装\n4.其它：满足图纸、招标文件及相关技术规范要求等"]
[7,"040104003037",null,"机械挖管沟土方",null,"1.名称：机械挖管沟土方\n2.土壤类别自定\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"1000m3",0.78]
[8,"040104006001",null,"机械装土方",null,"1.名称：机械装土方\n2.做法：自行考虑\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"1000m3",0.78]
[9,"040104006009",null,"自卸汽车运土方",null,"1.名称：自卸汽车运土方\n2.运距自定\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"1000m3",0.78]
[10,"040103003003",null,"直埋管沟回填撼砂",null,"1.名称：直直埋管沟回填撼砂\n2.做法：详见图纸\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"10m3",68.78]
[11,"040501013009",null,"管道砂垫层",null,"1.名称：管道砂垫层\n2.做法：详见图纸\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"10m3",2.31]
[12,"040501001075",null,"混凝土管截断",null,"1.名称：混凝土管截断\n2.做法：自行考虑，DN300\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"处",4]
[13,"03B001",null,"管道封堵",null,"1.名称：管道封堵\n2.做法：管径DN300,管道封堵做法：在原管道截断面向内延伸200mm，用砖砌240mm厚进行封闭，在距截断面150mm处向管道",null,"处",4]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":10},"第  3  页  共  7  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":5},"内植入φ8钢筋，间距100mm，横向竖向各两根，在植筋处灌注100mm厚的膨胀混凝土。\n3.其它：满足图纸、招标文件及相关技术规范要求等"]
[{"$nulls":3},"拆除工程"]
[1,"011601001002",null,"台阶拆除",null,"1.名称：台阶拆除\n2.要求：包含台阶垫层、砌筑层、面层等拆除\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"m3",26.94]
[2,"041001002007",null,"拆除人行道面层",null,"1.名称：拆除人行道面层\n2.要求：包含人行道面层等拆除\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"100m2",3.63]
[3,"041001014007",null,"拆除人行道基层",null,"1.名称：拆除水稳层\n2.要求：包含水稳层等拆除\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"1000m3",0.07]
[4,"040203014002",null,"沥青混凝土路面切割",null,"1.名称：沥青混凝土路面切割\n2.其它：满足图纸、招标文件及相关技术规范要求等",null,"100m",1.29]
[5,"041001001001",null,"拆除旧路面层",null,"1.名称：拆除沥青混凝土面层\n2.要求：包含沥青混凝土面层等拆除\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"100m2",0.93]
[6,"041001014008",null,"拆除旧路基层",null,"1.名称：拆除旧路基层\n2.要求：包含道路混凝土基层等拆除\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"1000m3",0.02]
[7,"041001003021",null,"拆除旧路垫层",null,"1.名称：拆除级配碎石\n2.要求：包含级配碎石等拆除\n3.其它：满足图纸、招标",null,"100m2",0.93]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":10},"第  4  页  共  7  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":5},"文件及相关技术规范要求等"]
[8,"050101005002",null,"仿真草坪拆除",null,"1.名称：仿真草坪拆除\n2.包含仿真草坪等拆除\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"10m2",18]
[9,"041001014009",null,"拆除草坪基层",null,"1.名称：拆除草坪基层\n2.要求：包含水稳层等拆除\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"1000m3",0.04]
[10,"050101005003",null,"清除草皮",null,"1.名称：草坪拆除\n2.其它：满足图纸、招标文件及相关技术规范要求等",null,"10m2",0.2]
[11,"050101003002",null,"清除绿化",null,"1.名称：绿化拆除\n2.其它：满足图纸、招标文件及相关技术规范要求等",null,"10m2",0.2]
[12,"040105008004",null,"装载机装车",null,"1.名称：垃圾外运装车\n2.其他：满足图纸、招标文件及相关技术规范要求等",null,"1000m3",0.24]
[13,"040105009007",null,"垃圾外运",null,"1.运距由施工单位自行考虑\n2.其他：满足图纸、招标文件及相关技术规范要求等",null,"1000m3",0.24]
[{"$nulls":3},"台阶"]
[1,"010501001002",null,"台阶混凝土垫层",null,"1.名称：台阶混凝土垫层\n2.标号：C20\n3.要求：包含台阶垫层浇筑、振捣，混凝土运输、泵送等\n4.其它：满足图纸、招标文件及相关技术规范要求等",null,"10m3",0.94]
[2,"010401001005",null,"砖砌台阶",null,"1.名称：砖砌台阶\n2.要求：水泥砂浆抹面，水泥砂浆配比1：2.5\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"10m3",1.3]
[3,"011107001003",null,"台阶面层",null,"1.名称：火烧板台阶面层\n2.要求：花岗岩30mm厚\n3.其它：满足图纸、招标",null,"100m2",0.58]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":10},"第  5  页  共  7  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":5},"文件及相关技术规范要求等"]
[{"$nulls":3},"铺装"]
[1,"040202032005",null,"水泥稳定砂砾",null,"1.名称：水泥稳定砂砾\n2.厚度：200mm\n3.其他：满足图纸、招标文件及相关技术规范要求等",null,"100m2",3.63]
[2,"040204010001",null,"水泥稳定粒料 运输",null,"1.名称：水泥稳定粒料运输\n2.运具及运距自行考虑\n3.其他：满足图纸、招标文件及相关技术规范要求等",null,"100t",1.23]
[3,"040202036003",null,"基层养生",null,"1.名称：基层养生\n2.要求：养生方式自行考虑\n3.其他：满足图纸、招标文件及相关技术规范要求等",null,"100m2",3.63]
[4,"040204002017",null,"广场水泥砖",null,"1.名称：广场水泥砖\n2.水泥砖尺寸：200×100×60mm\n3.要求：水泥砂浆粘贴\n4.其它：满足图纸、招标文件及相关技术规范要求等",null,"100m2",3.63]
[{"$nulls":3},"沥青路面"]
[1,"040202011005",null,"150mm厚级配碎石",null,"1.名称：级配碎石\n2.厚度：150mm\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"100m2",0.93]
[2,"040203007003",null,"200mm厚C25混凝土基层",null,"1.名称：混凝土基层\n2.标号：C25\n3.厚度：200mm\n4.要求：包含混凝土基层浇筑、振捣，混凝土运输、泵送等\n5.其它：满足图纸、招标文件及相关技术规范要求等",null,"100m2",0.93]
[3,"040202036006",null,"基层养生",null,"1.名称：基层养生\n2.要求：养生方式自行考虑\n3.其他：满足图纸、招标文件及相关技术规范要求等",null,"100m2",0.93]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":10},"第  6  页  共  7  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[4,"040203004006",null,"中粒式沥青稀浆封层",null,"1.名称：稀浆封层\n2.要求：中粒式\n3.厚度：8mm\n4.其它：满足图纸、招标文件及相关技术规范要求等",null,"1000m2",0.09]
[5,"040203006025",null,"中粒式沥青混凝土",null,"1.名称：中粒式沥青混凝土\n2.厚度：60mm\n3.施工方式由投标人自行考虑\n4.其他：满足图纸、招标文件及相关技术规范要求等",null,"100m2",0.93]
[6,"040203003013",null,"黏(粘)层油",null,"1.名称：粘层油(PCR改性乳化沥青)\n2.要求：0.4L/㎡\n3.其他：满足图纸、招标文件及相关技术规范要求等",null,"1000m2",0.09]
[7,"040203006026",null,"细粒式沥青混凝土",null,"1.名称：细粒式改性沥青混凝土\n2.厚度：40mm\n3.施工方式由投标人自行考虑\n4.其他：满足图纸、招标文件及相关技术规范要求等",null,"100m2",0.93]
[8,"040204011007",null,"沥青混凝土 运输",null,"1.名称：沥青混凝土运输\n2.运具及运距投标人自行考虑\n3.其他：满足图纸、招标文件及相关技术规范要求等",null,"100t",0.22]
[{"$nulls":3},"仿真草坪"]
[1,"040202032010",null,"20cm水泥稳定砂砾",null,"1.名称：水泥稳定砂砾\n2.厚度：200mm\n3.其他：满足图纸、招标文件及相关技术规范要求等",null,"100m2",1.8]
[2,"040204010005",null,"水泥稳定粒料 运输",null,"1.名称：水泥稳定粒料运输\n2.运具及运距自行考虑\n3.其他：满足图纸、招标文件及相关技术规范要求等",null,"100t",0.81]
[3,"040202036007",null,"基层养生",null,"1.名称：基层养生\n2.要求：养生方式自行考虑",null,"100m2",1.8]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":10},"第  7  页  共  7  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":5},"3.其他：满足图纸、招标文件及相关技术规范要求等"]
[4,"01A001",null,"仿真草坪",null,"1.名称：仿真草坪\n2.其它：满足图纸、招标文件及相关技术规范要求等",null,"m2",180]
[{"$nulls":3},"绿化"]
[1,"050102011004",null,"草皮",null,"1.名称：草坪（含2年养护期）\n2.其他：满足图纸、招标文件及相关技术规范要求等",null,"m2",2]
[2,"050102005026",null,"灌木",null,"1.名称：小叶丁香（含2年养护期）\n2.要求：带土球，单平米约64株\n3.其他：满足图纸、招标文件及相关技术规范要求等",null,"10m2",0.2]
[{"$nulls":3},"措施部分"]
[1,"041105002001",null,"特、大型机械进出场 履带式挖掘机",null,"1.名称： 履带式挖掘机\n2.机械类型自行考虑\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"项",1]
[2,"041105002010",null,"特、大型机械进出场 压路机",null,"1.名称： 压路机\n2.机械类型自行考虑\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"台次",1]
[3,"041105002016",null,"特、大型机械进出场 摊铺机",null,"1.名称：摊铺机\n2.机械类型自行考虑\n3.其它：满足图纸、招标文件及相关技术规范要求等",null,"台次",1]
[4,"041110001007",null,"整体围挡 简易围挡",null,"1.施工围挡\n2.投标人根据实际情况综合考虑\n3.其他：应满足设计图纸、招标文件、技术要求及有关施工验收规范的标准",null,"100m2",5.79]
[]
[]
["本页小计"]
["合    计"]
[{"$nulls":11},"表—08"]

{"sheet":"表-11 总价措施项目清单与计价表","index":1,"n_rows":35,"n_cols":14,"rows_kept":35,"merged":[[0,0,0,10],[0,11,0,13],[1,0,1,13],[2,0,2,4],[2,5,2,10],[2,11,2,13],[3,1,3,2],[3,3,3,5],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,8,30,9],[30,10,30,11],[31,1,31,2],[31,3,31,5],[31,8,31,9],[31,10,31,11],[32,1,32,2],[32,3,32,5],[32,8,32,9],[32,10,32,11],[33,1,33,2],[33,3,33,5],[33,8,33,9],[33,10,33,11],[34,0,34,7],[34,8,34,9],[34,10,34,11]],"flags":["formulas_cached_only"]}
[]
["总价措施项目清单与计价表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":10},"第  1  页  共  1  页"]
["序号","项目编码",null,"项目名称",null,null,"计算基础","费率(%)","金额(元)",null,"调整费率(%)",null,"调整后金额(元)","备注"]
[{"$nulls":3},"一般措施项目费(不含安全施工措施费)"]
[1,"041109001001",null,"文明施工和环境保护费(不含第2册)"]
[2,"041109001002",null,"文明施工和环境保护费 第2册"]
[3,"041109004001",null,"雨季施工费(不含第2册)"]
[4,"041109004002",null,"雨季施工费 第2册"]
[{"$nulls":3},"其他措施项目费"]
[5,"041109002001",null,"夜间施工增加费和白天施工需要照明费"]
[6,"041109003001",null,"二次搬运费"]
[7,"041109004003",null,"冬季施工费(不含第2册)"]
[8,"041109004004",null,"冬季施工费 第2册"]
[9,"041109007001",null,"已完工程及设备保护费"]
[10,"041109005001",null,"市政工程（含园林绿化工程）施工干扰费"]
{"$rows_empty":18}
["合    计"]

{"sheet":"表-12 其他项目清单与计价汇总表","index":2,"n_rows":43,"n_cols":10,"rows_kept":43,"merged":[[0,0,0,7],[0,8,0,9],[1,0,1,9],[2,0,2,3],[2,4,2,7],[2,8,2,9],[3,0,3,1],[3,2,3,4],[3,5,3,6],[3,7,3,8],[4,0,4,1],[4,2,4,4],[4,5,4,6],[4,7,4,8],[5,0,5,1],[5,2,5,4],[5,5,5,6],[5,7,5,8],[6,0,6,1],[6,2,6,4],[6,5,6,6],[6,7,6,8],[7,0,7,1],[7,2,7,4],[7,5,7,6],[7,7,7,8],[8,0,8,1],[8,2,8,4],[8,5,8,6],[8,7,8,8],[9,0,9,1],[9,2,9,4],[9,5,9,6],[9,7,9,8],[10,0,10,1],[10,2,10,4],[10,5,10,6],[10,7,10,8],[11,0,11,1],[11,2,11,4],[11,5,11,6],[11,7,11,8],[12,0,12,1],[12,2,12,4],[12,5,12,6],[12,7,12,8],[13,0,13,1],[13,2,13,4],[13,5,13,6],[13,7,13,8],[14,0,14,1],[14,2,14,4],[14,5,14,6],[14,7,14,8],[15,0,15,1],[15,2,15,4],[15,5,15,6],[15,7,15,8],[16,0,16,1],[16,2,16,4],[16,5,16,6],[16,7,16,8],[17,0,17,1],[17,2,17,4],[17,5,17,6],[17,7,17,8],[18,0,18,1],[18,2,18,4],[18,5,18,6],[18,7,18,8],[19,0,19,1],[19,2,19,4],[19,5,19,6],[19,7,19,8],[20,0,20,1],[20,2,20,4],[20,5,20,6],[20,7,20,8],[21,0,21,1],[21,2,21,4],[21,5,21,6],[21,7,21,8],[22,0,22,1],[22,2,22,4],[22,5,22,6],[22,7,22,8],[23,0,23,1],[23,2,23,4],[23,5,23,6],[23,7,23,8],[24,0,24,1],[24,2,24,4],[24,5,24,6],[24,7,24,8],[25,0,25,1],[25,2,25,4],[25,5,25,6],[25,7,25,8],[26,0,26,1],[26,2,26,4],[26,5,26,6],[26,7,26,8],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,8],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,8],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,8],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,8],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,8],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,8],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,8],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,8],[35,0,35,1],[35,2,35,4],[35,5,35,6],[35,7,35,8],[36,0,36,1],[36,2,36,4],[36,5,36,6],[36,7,36,8],[37,0,37,1],[37,2,37,4],[37,5,37,6],[37,7,37,8],[38,0,38,1],[38,2,38,4],[38,5,38,6],[38,7,38,8],[39,0,39,1],[39,2,39,4],[39,5,39,6],[39,7,39,8],[40,0,40,1],[40,2,40,4],[40,5,40,6],[40,7,40,8],[41,0,41,1],[41,2,41,4],[41,5,41,6],[41,7,41,8],[42,0,42,4],[42,5,42,6],[42,7,42,8]],"flags":["formulas_cached_only"]}
[]
["其他项目清单与计价汇总表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":7},"第  1  页  共  1  页"]
["序号",null,"项目名称",null,null,"金额(元)",null,"结算金额(元)",null,"备注"]
["1",null,"暂列金额",null,null,30000]
["2",null,"暂估价"]
["2.1",null,"材料（工程设备）暂估价",null,null,"—"]
["2.2",null,"专业工程暂估价"]
["3",null,"计日工"]
["4",null,"总承包服务费"]
["5",null,"工程担保费"]
{"$rows_empty":31}
["合 计"]

{"sheet":"表-12-1 暂列金额表","index":3,"n_rows":43,"n_cols":10,"rows_kept":43,"merged":[[0,0,0,7],[0,8,0,9],[1,0,1,9],[2,0,2,3],[2,4,2,7],[2,8,2,9],[3,0,3,1],[3,2,3,4],[3,5,3,6],[3,7,3,8],[4,0,4,1],[4,2,4,4],[4,5,4,6],[4,7,4,8],[5,0,5,1],[5,2,5,4],[5,5,5,6],[5,7,5,8],[6,0,6,1],[6,2,6,4],[6,5,6,6],[6,7,6,8],[7,0,7,1],[7,2,7,4],[7,5,7,6],[7,7,7,8],[8,0,8,1],[8,2,8,4],[8,5,8,6],[8,7,8,8],[9,0,9,1],[9,2,9,4],[9,5,9,6],[9,7,9,8],[10,0,10,1],[10,2,10,4],[10,5,10,6],[10,7,10,8],[11,0,11,1],[11,2,11,4],[11,5,11,6],[11,7,11,8],[12,0,12,1],[12,2,12,4],[12,5,12,6],[12,7,12,8],[13,0,13,1],[13,2,13,4],[13,5,13,6],[13,7,13,8],[14,0,14,1],[14,2,14,4],[14,5,14,6],[14,7,14,8],[15,0,15,1],[15,2,15,4],[15,5,15,6],[15,7,15,8],[16,0,16,1],[16,2,16,4],[16,5,16,6],[16,7,16,8],[17,0,17,1],[17,2,17,4],[17,5,17,6],[17,7,17,8],[18,0,18,1],[18,2,18,4],[18,5,18,6],[18,7,18,8],[19,0,19,1],[19,2,19,4],[19,5,19,6],[19,7,19,8],[20,0,20,1],[20,2,20,4],[20,5,20,6],[20,7,20,8],[21,0,21,1],[21,2,21,4],[21,5,21,6],[21,7,21,8],[22,0,22,1],[22,2,22,4],[22,5,22,6],[22,7,22,8],[23,0,23,1],[23,2,23,4],[23,5,23,6],[23,7,23,8],[24,0,24,1],[24,2,24,4],[24,5,24,6],[24,7,24,8],[25,0,25,1],[25,2,25,4],[25,5,25,6],[25,7,25,8],[26,0,26,1],[26,2,26,4],[26,5,26,6],[26,7,26,8],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,8],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,8],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,8],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,8],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,8],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,8],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,8],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,8],[35,0,35,1],[35,2,35,4],[35,5,35,6],[35,7,35,8],[36,0,36,1],[36,2,36,4],[36,5,36,6],[36,7,36,8],[37,0,37,1],[37,2,37,4],[37,5,37,6],[37,7,37,8],[38,0,38,1],[38,2,38,4],[38,5,38,6],[38,7,38,8],[39,0,39,1],[39,2,39,4],[39,5,39,6],[39,7,39,8],[40,0,40,6],[40,7,40,8],[41,0,41,9],[42,1,42,2],[42,4,42,5],[42,6,42,7],[42,8,42,9]],"flags":["formulas_cached_only"]}
[]
["暂列金额明细表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":3},"标段：泰奕桃源商网排水改造工程",{"$nulls":3},"第  1  页  共  1  页"]
["序号",null,"项目名称",null,null,"计量单位",null,"暂定金额（元）",null,"备注"]
["1",null,"暂列金",{"$nulls":4},30000]
{"$rows_empty":35}
["合    计",{"$nulls":6},30000,null,"—"]
["注：此表由招标人填写，如不能详列，也可只列暂列金额总额，投标人应将上述暂列金额计入投标总价中。"]
[{"$nulls":8},"表—12—1"]

{"sheet":"表-12-4 计日工表","index":4,"n_rows":44,"n_cols":13,"rows_kept":44,"merged":[[0,0,0,10],[0,11,0,12],[1,0,1,12],[2,0,2,3],[2,4,2,10],[2,11,2,12],[3,0,4,0],[3,1,4,4],[3,5,4,5],[3,6,4,6],[3,7,4,8],[3,9,4,9],[3,10,3,12],[4,10,4,11],[5,1,5,4],[5,7,5,8],[5,10,5,11],[6,1,6,4],[6,7,6,8],[6,10,6,11],[7,0,7,9],[7,10,7,11],[8,1,8,4],[8,7,8,8],[8,10,8,11],[9,1,9,4],[9,7,9,8],[9,10,9,11],[10,0,10,9],[10,10,10,11],[11,1,11,4],[11,7,11,8],[11,10,11,11],[12,1,12,4],[12,7,12,8],[12,10,12,11],[13,0,13,9],[13,10,13,11],[14,1,14,4],[14,7,14,8],[14,10,14,11],[15,1,15,4],[15,7,15,8],[15,10,15,11],[16,0,16,9],[16,10,16,11],[17,1,17,4],[17,7,17,8],[17,10,17,11],[18,1,18,4],[18,7,18,8],[18,10,18,11],[19,1,19,4],[19,7,19,8],[19,10,19,11],[20,1,20,4],[20,7,20,8],[20,10,20,11],[21,1,21,4],[21,7,21,8],[21,10,21,11],[22,1,22,4],[22,7,22,8],[22,10,22,11],[23,1,23,4],[23,7,23,8],[23,10,23,11],[24,1,24,4],[24,7,24,8],[24,10,24,11],[25,1,25,4],[25,7,25,8],[25,10,25,11],[26,1,26,4],[26,7,26,8],[26,10,26,11],[27,1,27,4],[27,7,27,8],[27,10,27,11],[28,1,28,4],[28,7,28,8],[28,10,28,11],[29,1,29,4],[29,7,29,8],[29,10,29,11],[30,1,30,4],[30,7,30,8],[30,10,30,11],[31,1,31,4],[31,7,31,8],[31,10,31,11],[32,1,32,4],[32,7,32,8],[32,10,32,11],[33,1,33,4],[33,7,33,8],[33,10,33,11],[34,1,34,4],[34,7,34,8],[34,10,34,11],[35,1,35,4],[35,7,35,8],[35,10,35,11],[36,1,36,4],[36,7,36,8],[36,10,36,11],[37,1,37,4],[37,7,37,8],[37,10,37,11],[38,1,38,4],[38,7,38,8],[38,10,38,11],[39,1,39,4],[39,7,39,8],[39,10,39,11],[40,1,40,4],[40,7,40,8],[40,10,40,11],[41,1,41,4],[41,7,41,8],[41,10,41,11],[42,1,42,4],[42,7,42,8],[42,10,42,11],[43,0,43,9],[43,10,43,11]],"flags":["formulas_cached_only"]}
[]
["计 日 工 表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":10},"第  1  页  共  1  页"]
["编号","项目名称",{"$nulls":3},"单位","暂定数量","实际数量",null,"综合单价(元)","合价（元）"]
[{"$nulls":10},"暂定",null,"实际"]
["1","人工"]
["1.1"]
["人工小计"]
["2","材料"]
["2.1"]
["材料小计"]
["3","机械"]
["3.1"]
["机械小计"]
["4","企业管理费和利润"]
["4.1"]
["企业管理费和利润小计"]
{"$rows_empty":26}
["总    计"]

{"sheet":"表-13 规费、税金项目清单与计价表","index":5,"n_rows":47,"n_cols":11,"rows_kept":47,"merged":[[0,0,0,7],[0,8,0,10],[1,0,1,10],[2,0,2,3],[2,4,2,7],[2,8,2,10],[3,1,3,4],[3,5,3,6],[3,7,3,8],[4,1,4,4],[4,5,4,6],[4,7,4,8],[5,1,5,4],[5,5,5,6],[5,7,5,8],[6,1,6,4],[6,5,6,6],[6,7,6,8],[7,1,7,4],[7,5,7,6],[7,7,7,8],[8,1,8,4],[8,5,8,6],[8,7,8,8],[9,1,9,4],[9,5,9,6],[9,7,9,8],[10,1,10,4],[10,5,10,6],[10,7,10,8],[11,1,11,4],[11,5,11,6],[11,7,11,8],[12,1,12,4],[12,5,12,6],[12,7,12,8],[13,1,13,4],[13,5,13,6],[13,7,13,8],[14,1,14,4],[14,5,14,6],[14,7,14,8],[15,1,15,4],[15,5,15,6],[15,7,15,8],[16,1,16,4],[16,5,16,6],[16,7,16,8],[17,1,17,4],[17,5,17,6],[17,7,17,8],[18,1,18,4],[18,5,18,6],[18,7,18,8],[19,1,19,4],[19,5,19,6],[19,7,19,8],[20,1,20,4],[20,5,20,6],[20,7,20,8],[21,1,21,4],[21,5,21,6],[21,7,21,8],[22,1,22,4],[22,5,22,6],[22,7,22,8],[23,1,23,4],[23,5,23,6],[23,7,23,8],[24,1,24,4],[24,5,24,6],[24,7,24,8],[25,1,25,4],[25,5,25,6],[25,7,25,8],[26,1,26,4],[26,5,26,6],[26,7,26,8],[27,1,27,4],[27,5,27,6],[27,7,27,8],[28,1,28,4],[28,5,28,6],[28,7,28,8],[29,1,29,4],[29,5,29,6],[29,7,29,8],[30,1,30,4],[30,5,30,6],[30,7,30,8],[31,1,31,4],[31,5,31,6],[31,7,31,8],[32,1,32,4],[32,5,32,6],[32,7,32,8],[33,1,33,4],[33,5,33,6],[33,7,33,8],[34,1,34,4],[34,5,34,6],[34,7,34,8],[35,1,35,4],[35,5,35,6],[35,7,35,8],[36,1,36,4],[36,5,36,6],[36,7,36,8],[37,1,37,4],[37,5,37,6],[37,7,37,8],[38,1,38,4],[38,5,38,6],[38,7,38,8],[39,1,39,4],[39,5,39,6],[39,7,39,8],[40,1,40,4],[40,5,40,6],[40,7,40,8],[41,1,41,4],[41,5,41,6],[41,7,41,8],[42,1,42,4],[42,5,42,6],[42,7,42,8],[43,1,43,4],[43,5,43,6],[43,7,43,8],[44,1,44,4],[44,5,44,6],[44,7,44,8],[45,1,45,4],[45,5,45,6],[45,7,45,8],[46,0,46,9]],"flags":["formulas_cached_only"]}
[]
["规费、税金项目计价表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":7},"第  1  页  共  1  页"]
["序号","项目名称",{"$nulls":3},"计算基础",null,"计算基数",null,"计算费率(%)","金额（元）"]
["1","规费"]
["1.1","社会保障费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["1.4","其它"]
["1.5","工伤保险"]
["2","税金"]
{"$rows_empty":35}
["合    计"]

{"sheet":"表-23 主要材料和工程设备选用表","index":6,"n_rows":3,"n_cols":8,"rows_kept":3,"merged":[[0,0,0,7],[1,0,1,4],[1,5,1,7],[2,1,2,2],[2,4,2,5],[3,1,3,2],[3,4,3,5],[4,1,4,2],[4,4,4,5],[5,1,5,2],[5,4,5,5],[6,1,6,2],[6,4,6,5],[7,1,7,2],[7,4,7,5],[8,1,8,2],[8,4,8,5],[9,1,9,2],[9,4,9,5],[10,1,10,2],[10,4,10,5],[11,1,11,2],[11,4,11,5],[12,1,12,2],[12,4,12,5],[13,1,13,2],[13,4,13,5],[14,1,14,2],[14,4,14,5],[15,1,15,2],[15,4,15,5],[16,1,16,2],[16,4,16,5],[17,1,17,2],[17,4,17,5],[18,1,18,2],[18,4,18,5],[19,1,19,2],[19,4,19,5],[20,1,20,2],[20,4,20,5],[21,1,21,2],[21,4,21,5],[22,1,22,2],[22,4,22,5],[23,1,23,2],[23,4,23,5],[24,1,24,2],[24,4,24,5],[25,1,25,2],[25,4,25,5],[26,1,26,2],[26,4,26,5],[27,1,27,2],[27,4,27,5],[28,1,28,2],[28,4,28,5],[29,1,29,2],[29,4,29,5],[30,1,30,2],[30,4,30,5],[31,1,31,2],[31,4,31,5],[32,1,32,2],[32,4,32,5],[33,1,33,2],[33,4,33,5],[34,1,34,2],[34,4,34,5],[35,1,35,2],[35,4,35,5],[36,1,36,2],[36,4,36,5],[37,1,37,2],[37,4,37,5],[38,1,38,2],[38,4,38,5],[39,1,39,2],[39,4,39,5],[40,1,40,2],[40,4,40,5],[41,1,41,2],[41,4,41,5],[42,1,42,2],[42,4,42,5],[43,1,43,2],[43,4,43,5],[44,1,44,2],[44,4,44,5],[45,1,45,2],[45,4,45,5],[46,1,46,2],[46,4,46,5],[47,1,47,2],[47,4,47,5],[48,0,48,7]],"flags":["formulas_cached_only"]}
["主要材料价格表"]
["工程名称：泰奕桃源商网排水改造工程",{"$nulls":4},"第 1 页  共 1 页"]
["序号","材料设备名称",null,"规格型号","单位",null,"市场价","备注"]