{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["扉-1 招标工程量清单扉页","表-08 分部分项工程和单价措施项目清单与计价表","表-11 总价措施项目清单与计价表","表-12 其他项目清单与计价汇总表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"扉-1 招标工程量清单扉页","index":0,"n_rows":11,"n_cols":7,"rows_kept":11,"merged":[[0,0,0,1],[0,2,0,4],[0,5,0,6],[1,0,1,1],[1,2,1,4],[1,5,1,6],[2,1,2,2],[2,4,2,5],[3,1,3,2],[3,4,3,5],[4,1,4,2],[4,4,4,5],[5,1,5,2],[5,4,5,5],[6,1,6,2],[6,4,6,5],[7,1,7,2],[7,4,7,5],[8,1,8,2],[8,4,8,5],[9,1,9,2],[9,4,9,5],[10,0,10,1],[10,2,10,4],[10,5,10,6]],"flags":["formulas_cached_only"]}
[null,null,"浑南国际新兴产业园部分建筑零散维修",null,null,"工程"]
[null,null,"招标工程量清单"]
[]
["招  标  人：",{"$nulls":3},"造 价咨询人："]
[null,"(单位盖章)",{"$nulls":4},"(单位资质专用章)"]
["法定代表人\n或其授权人：",{"$nulls":3},"法定代表人\n或其授权人："]
[null,"(签字或盖章)",{"$nulls":4},"(签字或盖章)"]
["编  制  人：",{"$nulls":3},"复  核  人："]
[null,"(造价人员签字盖专用章)",{"$nulls":4},"(造价工程师签字盖专用章)"]
["编 制 时 间：","    年   月   日",null,null,"复 核 时 间：",null,"    年   月   日"]
[{"$nulls":5},"扉—1"]

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表","index":1,"n_rows":207,"n_cols":14,"rows_kept":207,"merged":[[0,0,0,10],[0,11,0,13],[1,0,1,13],[2,0,2,5],[2,6,2,10],[2,11,2,13],[3,0,5,0],[3,1,5,2],[3,3,5,4],[3,5,5,6],[3,7,5,7],[3,8,5,9],[3,10,3,13],[4,10,5,11],[4,12,5,12],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,4],[7,5,7,6],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,4],[8,5,8,6],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,4],[9,5,9,6],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,4],[10,5,10,6],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,4],[11,5,11,6],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,4],[12,5,12,6],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,4],[13,5,13,6],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,4],[14,5,14,6],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,4],[15,5,15,6],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,4],[16,5,16,6],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,4],[17,5,17,6],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,4],[18,5,18,6],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,4],[19,5,19,6],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,4],[20,5,20,6],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,4],[21,5,21,6],[21,8,21,9],[21,10,21,11],[22,0,22,9],[22,10,22,11],[23,0,23,1],[23,2,23,3],[23,4,23,5],[23,6,23,8],[23,9,23,10],[23,11,23,13],[24,0,24,10],[24,11,24,13],[25,0,25,13],[26,0,26,5],[26,6,26,10],[26,11,26,13],[27,0,29,0],[27,1,29,2],[27,3,29,4],[27,5,29,6],[27,7,29,7],[27,8,29,9],[27,10,27,13],[28,10,29,11],[28,12,29,12],[30,1,30,2],[30,3,30,4],[30,5,30,6],[30,8,30,9],[30,10,30,11],[31,1,31,2],[31,3,31,4],[31,5,31,6],[31,8,31,9],[31,10,31,11],[32,1,32,2],[32,3,32,4],[32,5,32,6],[32,8,32,9],[32,10,32,11],[33,1,33,2],[33,3,33,4],[33,5,33,6],[33,8,33,9],[33,10,33,11],[34,1,34,2],[34,3,34,4],[34,5,34,6],[34,8,34,9],[34,10,34,11],[35,1,35,2],[35,3,35,4],[35,5,35,6],[35,8,35,9],[35,10,35,11],[36,1,36,2],[36,3,36,4],[36,5,36,6],[36,8,36,9],[36,10,36,11],[37,1,37,2],[37,3,37,4],[37,5,37,6],[37,8,37,9],[37,10,37,11],[38,1,38,2],[38,3,38,4],[38,5,38,6],[38,8,38,9],[38,10,38,11],[39,1,39,2],[39,3,39,4],[39,5,39,6],[39,8,39,9],[39,10,39,11],[40,1,40,2],[40,3,40,4],[40,5,40,6],[40,8,40,9],[40,10,40,11],[41,1,41,2],[41,3,41,4],[41,5,41,6],[41,8,41,9],[41,10,41,11],[42,1,42,2],[42,3,42,4],[42,5,42,6],[42,8,42,9],[42,10,42,11],[43,1,43,2],[43,3,43,4],[43,5,43,6],[43,8,43,9],[43,10,43,11],[44,1,44,2],[44,3,44,4],[44,5,44,6],[44,8,44,9],[44,10,44,11],[45,1,45,2],[45,3,45,4],[45,5,45,6],[45,8,45,9],[45,10,45,11],[46,1,46,2],[46,3,46,4],[46,5,46,6],[46,8,46,9],[46,10,46,11],[47,0,47,9],[47,10,47,11],[48,0,48,1],[48,2,48,3],[48,4,48,5],[48,6,48,8],[48,9,48,10],[48,11,48,13],[49,0,49,10],[49,11,49,13],[50,0,50,13],[51,0,51,5],[51,6,51,10],[51,11,51,13],[52,0,54,0],[52,1,54,2],[52,3,54,4],[52,5,54,6],[52,7,54,7],[52,8,54,9],[52,10,52,13],[53,10,54,11],[53,12,54,12],[55,1,55,2],[55,3,55,4],[55,5,55,6],[55,8,55,9],[55,10,55,11],[56,1,56,2],[56,3,56,4],[56,5,56,6],[56,8,56,9],[56,10,56,11],[57,1,57,2],[57,3,57,4],[57,5,57,6],[57,8,57,9],[57,10,57,11],[58,1,58,2],[58,3,58,4],[58,5,58,6],[58,8,58,9],[58,10,58,11],[59,1,59,2],[59,3,59,4],[59,5,59,6],[59,8,59,9],[59,10,59,11],[60,1,60,2],[60,3,60,4],[60,5,60,6],[60,8,60,9],[60,10,60,11],[61,1,61,2],[61,3,61,4],[61,5,61,6],[61,8,61,9],[61,10,61,11],[62,1,62,2],[62,3,62,4],[62,5,62,6],[62,8,62,9],[62,10,62,11],[63,1,63,2],[63,3,63,4],[63,5,63,6],[63,8,63,9],[63,10,63,11],[64,1,64,2],[64,3,64,4],[64,5,64,6],[64,8,64,9],[64,10,64,11],[65,1,65,2],[65,3,65,4],[65,5,65,6],[65,8,65,9],[65,10,65,11],[66,1,66,2],[66,3,66,4],[66,5,66,6],[66,8,66,9],[66,10,66,11],[67,1,67,2],[67,3,67,4],[67,5,67,6],[67,8,67,9],[67,10,67,11],[68,1,68,2],[68,3,68,4],[68,5,68,6],[68,8,68,9],[68,10,68,11],[69,0,69,9],[69,10,69,11],[70,0,70,1],[70,2,70,3],[70,4,70,5],[70,6,70,8],[70,9,70,10],[70,11,70,13],[71,0,71,10],[71,11,71,13],[72,0,72,13],[73,0,73,5],[73,6,73,10],[73,11,73,13],[74,0,76,0],[74,1,76,2],[74,3,76,4],[74,5,76,6],[74,7,76,7],[74,8,76,9],[74,10,74,13],[75,10,76,11],[75,12,76,12],[77,1,77,2],[77,3,77,4],[77,5,77,6],[77,8,77,9],[77,10,77,11],[78,1,78,2],[78,3,78,4],[78,5,78,6],[78,8,78,9],[78,10,78,11],[79,1,79,2],[79,3,79,4],[79,5,79,6],[79,8,79,9],[79,10,79,11],[80,1,80,2],[80,3,80,4],[80,5,80,6],[80,8,80,9],[80,10,80,11],[81,1,81,2],[81,3,81,4],[81,5,81,6],[81,8,81,9],[81,10,81,11],[82,1,82,2],[82,3,82,4],[82,5,82,6],[82,8,82,9],[82,10,82,11],[83,1,83,2],[83,3,83,4],[83,5,83,6],[83,8,83,9],[83,10,83,11],[84,1,84,2],[84,3,84,4],[84,5,84,6],[84,8,84,9],[84,10,84,11],[85,1,85,2],[85,3,85,4],[85,5,85,6],[85,8,85,9],[85,10,85,11],[86,1,86,2],[86,3,86,4],[86,5,86,6],[86,8,86,9],[86,10,86,11],[87,1,87,2],[87,3,87,4],[87,5,87,6],[87,8,87,9],[87,10,87,11],[88,1,88,2],[88,3,88,4],[88,5,88,6],[88,8,88,9],[88,10,88,11],[89,1,89,2],[89,3,89,4],[89,5,89,6],[89,8,89,9],[89,10,89,11],[90,1,90,2],[90,3,90,4],[90,5,90,6],[90,8,90,9],[90,10,90,11],[91,1,91,2],[91,3,91,4],[91,5,91,6],[91,8,91,9],[91,10,91,11],[92,1,92,2],[92,3,92,4],[92,5,92,6],[92,8,92,9],[92,10,92,11],[93,1,93,2],[93,3,93,4],[93,5,93,6],[93,8,93,9],[93,10,93,11],[94,0,94,9],[94,10,94,11],[95,0,95,1],[95,2,95,3],[95,4,95,5],[95,6,95,8],[95,9,95,10],[95,11,95,13],[96,0,96,10],[96,11,96,13],[97,0,97,13],[98,0,98,5],[98,6,98,10],[98,11,98,13],[99,0,101,0],[99,1,101,2],[99,3,101,4],[99,5,101,6],[99,7,101,7],[99,8,101,9],[99,10,99,13],[100,10,101,11],[100,12,101,12],[102,1,102,2],[102,3,102,4],[102,5,102,6],[102,8,102,9],[102,10,102,11],[103,1,103,2],[103,3,103,4],[103,5,103,6],[103,8,103,9],[103,10,103,11],[104,1,104,2],[104,3,104,4],[104,5,104,6],[104,8,104,9],[104,10,104,11],[105,1,105,2],[105,3,105,4],[105,5,105,6],[105,8,105,9],[105,10,105,11],[106,1,106,2],[106,3,106,4],[106,5,106,6],[106,8,106,9],[106,10,106,11],[107,1,107,2],[107,3,107,4],[107,5,107,6],[107,8,107,9],[107,10,107,11],[108,1,108,2],[108,3,108,4],[108,5,108,6],[108,8,108,9],[108,10,108,11],[109,1,109,2],[109,3,109,4],[109,5,109,6],[109,8,109,9],[109,10,109,11],[110,1,110,2],[110,3,110,4],[110,5,110,6],[110,8,110,9],[110,10,110,11],[111,1,111,2],[111,3,111,4],[111,5,111,6],[111,8,111,9],[111,10,111,11],[112,1,112,2],[112,3,112,4],[112,5,112,6],[112,8,112,9],[112,10,112,11],[113,1,113,2],[113,3,113,4],[113,5,113,6],[113,8,113,9],[113,10,113,11],[114,1,114,2],[114,3,114,4],[114,5,114,6],[114,8,114,9],[114,10,114,11],[115,1,115,2],[115,3,115,4],[115,5,115,6],[115,8,115,9],[115,10,115,11],[116,1,116,2],[116,3,116,4],[116,5,116,6],[116,8,116,9],[116,10,116,11],[117,1,117,2],[117,3,117,4],[117,5,117,6],[117,8,117,9],[117,10,117,11],[118,0,118,9],[118,10,118,11],[119,0,119,1],[119,2,119,3],[119,4,119,5],[119,6,119,8],[119,9,119,10],[119,11,119,13],[120,0,120,10],[120,11,120,13],[121,0,121,13],[122,0,122,5],[122,6,122,10],[122,11,122,13],[123,0,125,0],[123,1,125,2],[123,3,125,4],[123,5,125,6],[123,7,125,7],[123,8,125,9],[123,10,123,13],[124,10,125,11],[124,12,125,12],[126,1,126,2],[126,3,126,4],[126,5,126,6],[126,8,126,9],[126,10,126,11],[127,1,127,2],[127,3,127,4],[127,5,127,6],[127,8,127,9],[127,10,127,11],[128,1,128,2],[128,3,128,4],[128,5,128,6],[128,8,128,9],[128,10,128,11],[129,1,129,2],[129,3,129,4],[129,5,129,6],[129,8,129,9],[129,10,129,11],[130,1,130,2],[130,3,130,4],[130,5,130,6],[130,8,130,9],[130,10,130,11],[131,1,131,2],[131,3,131,4],[131,5,131,6],[131,8,131,9],[131,10,131,11],[132,1,132,2],[132,3,132,4],[132,5,132,6],[132,8,132,9],[132,10,132,11],[133,1,133,2],[133,3,133,4],[133,5,133,6],[133,8,133,9],[133,10,133,11],[134,1,134,2],[134,3,134,4],[134,5,134,6],[134,8,134,9],[134,10,134,11],[135,1,135,2],[135,3,135,4],[135,5,135,6],[135,8,135,9],[135,10,135,11],[136,1,136,2],[136,3,136,4],[136,5,136,6],[136,8,136,9],[136,10,136,11],[137,1,137,2],[137,3,137,4],[137,5,137,6],[137,8,137,9],[137,10,137,11],[138,1,138,2],[138,3,138,4],[138,5,138,6],[138,8,138,9],[138,10,138,11],[139,1,139,2],[139,3,139,4],[139,5,139,6],[139,8,139,9],[139,10,139,11],[140,1,140,2],[140,3,140,4],[140,5,140,6],[140,8,140,9],[140,10,140,11],[141,1,141,2],[141,3,141,4],[141,5,141,6],[141,8,141,9],[141,10,141,11],[142,1,142,2],[142,3,142,4],[142,5,142,6],[142,8,142,9],[142,10,142,11],[143,1,143,2],[143,3,143,4],[143,5,143,6],[143,8,143,9],[143,10,143,11],[144,1,144,2],[144,3,144,4],[144,5,144,6],[144,8,144,9],[144,10,144,11],[145,1,145,2],[145,3,145,4],[145,5,145,6],[145,8,145,9],[145,10,145,11],[146,0,146,9],[146,10,146,11],[147,0,147,1],[147,2,147,3],[147,4,147,5],[147,6,147,8],[147,9,147,10],[147,11,147,13],[148,0,148,10],[148,11,148,13],[149,0,149,13],[150,0,150,5],[150,6,150,10],[150,11,150,13],[151,0,153,0],[151,1,153,2],[151,3,153,4],[151,5,153,6],[151,7,153,7],[151,8,153,9],[151,10,151,13],[152,10,153,11],[152,12,153,12],[154,1,154,2],[154,3,154,4],[154,5,154,6],[154,8,154,9],[154,10,154,11],[155,1,155,2],[155,3,155,4],[155,5,155,6],[155,8,155,9],[155,10,155,11],[156,1,156,2],[156,3,156,4],[156,5,156,6],[156,8,156,9],[156,10,156,11],[157,1,157,2],[157,3,157,4],[157,5,157,6],[157,8,157,9],[157,10,157,11],[158,1,158,2],[158,3,158,4],[158,5,158,6],[158,8,158,9],[158,10,158,11],[159,1,159,2],[159,3,159,4],[159,5,159,6],[159,8,159,9],[159,10,159,11],[160,1,160,2],[160,3,160,4],[160,5,160,6],[160,8,160,9],[160,10,160,11],[161,1,161,2],[161,3,161,4],[161,5,161,6],[161,8,161,9],[161,10,161,11],[162,1,162,2],[162,3,162,4],[162,5,162,6],[162,8,162,9],[162,10,162,11],[163,1,163,2],[163,3,163,4],[163,5,163,6],[163,8,163,9],[163,10,163,11],[164,1,164,2],[164,3,164,4],[164,5,164,6],[164,8,164,9],[164,10,164,11],[165,1,165,2],[165,3,165,4],[165,5,165,6],[165,8,165,9],[165,10,165,11],[166,1,166,2],[166,3,166,4],[166,5,166,6],[166,8,166,9],[166,10,166,11],[167,1,167,2],[167,3,167,4],[167,5,167,6],[167,8,167,9],[167,10,167,11],[168,1,168,2],[168,3,168,4],[168,5,168,6],[168,8,168,9],[168,10,168,11],[169,1,169,2],[169,3,169,4],[169,5,169,6],[169,8,169,9],[169,10,169,11],[170,0,170,9],[170,10,170,11],[171,0,171,1],[171,2,171,3],[171,4,171,5],[171,6,171,8],[171,9,171,10],[171,11,171,13],[172,0,172,10],[172,11,172,13],[173,0,173,13],[174,0,174,5],[174,6,174,10],[174,11,174,13],[175,0,177,0],[175,1,177,2],[175,3,177,4],[175,5,177,6],[175,7,177,7],[175,8,177,9],[175,10,175,13],[176,10,177,11],[176,12,177,12],[178,1,178,2],[178,3,178,4],[178,5,178,6],[178,8,178,9],[178,10,178,11],[179,1,179,2],[179,3,179,4],[179,5,179,6],[179,8,179,9],[179,10,179,11],[180,1,180,2],[180,3,180,4],[180,5,180,6],[180,8,180,9],[180,10,180,11],[181,1,181,2],[181,3,181,4],[181,5,181,6],[181,8,181,9],[181,10,181,11],[182,1,182,2],[182,3,182,4],[182,5,182,6],[182,8,182,9],[182,10,182,11],[183,1,183,2],[183,3,183,4],[183,5,183,6],[183,8,183,9],[183,10,183,11],[184,1,184,2],[184,3,184,4],[184,5,184,6],[184,8,184,9],[184,10,184,11],[185,1,185,2],[185,3,185,4],[185,5,185,6],[185,8,185,9],[185,10,185,11],[186,1,186,2],[186,3,186,4],[186,5,186,6],[186,8,186,9],[186,10,186,11],[187,1,187,2],[187,3,187,4],[187,5,187,6],[187,8,187,9],[187,10,187,11],[188,1,188,2],[188,3,188,4],[188,5,188,6],[188,8,188,9],[188,10,188,11],[189,1,189,2],[189,3,189,4],[189,5,189,6],[189,8,189,9],[189,10,189,11],[190,1,190,2],[190,3,190,4],[190,5,190,6],[190,8,190,9],[190,10,190,11],[191,1,191,2],[191,3,191,4],[191,5,191,6],[191,8,191,9],[191,10,191,11],[192,1,192,2],[192,3,192,4],[192,5,192,6],[192,8,192,9],[192,10,192,11],[193,1,193,2],[193,3,193,4],[193,5,193,6],[193,8,193,9],[193,10,193,11],[194,1,194,2],[194,3,194,4],[194,5,194,6],[194,8,194,9],[194,10,194,11],[195,1,195,2],[195,3,195,4],[195,5,195,6],[195,8,195,9],[195,10,195,11],[196,1,196,2],[196,3,196,4],[196,5,196,6],[196,8,196,9],[196,10,196,11],[197,1,197,2],[197,3,197,4],[197,5,197,6],[197,8,197,9],[197,10,197,11],[198,1,198,2],[198,3,198,4],[198,5,198,6],[198,8,198,9],[198,10,198,11],[199,1,199,2],[199,3,199,4],[199,5,199,6],[199,8,199,9],[199,10,199,11],[200,1,200,2],[200,3,200,4],[200,5,200,6],[200,8,200,9],[200,10,200,11],[201,1,201,2],[201,3,201,4],[201,5,201,6],[201,8,201,9],[201,10,201,11],[202,1,202,2],[202,3,202,4],[202,5,202,6],[202,8,202,9],[202,10,202,11],[203,1,203,2],[203,3,203,4],[203,5,203,6],[203,8,203,9],[203,10,203,11],[204,0,204,9],[204,10,204,11],[205,0,205,9],[205,10,205,11],[206,0,206,1],[206,2,206,3],[206,4,206,5],[206,6,206,8],[206,9,206,10],[206,11,206,13]],"flags":["formulas_cached_only"]}
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":5},"标段：",{"$nulls":4},"第  1  页  共  8  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":3},"新园一期20#天沟修缮设计"]
[1,"010606011004",null,"西北侧天沟修缮",null,"1.名称：西北侧天沟修缮\n2.其他：满足规范及设计要求",null,"10m",0.9]
[2,"01B006",null,"新旧彩板接缝处打密封胶",null,"1.名称：新旧彩板接缝处打密封胶\n2.其他：满足规范及设计要求",null,"m",9]
[3,"01B001",null,"8t吊车",null,"1.满足规范及设计要求",null,"元",0.5]
[{"$nulls":3},"新园一期1#厂房窗台修缮"]
[1,"01B007",null,"窗外框打胶",null,"1.名称：窗外框打胶（含拆除及安装）\n2.其他：满足规范及设计要求",null,"m",60]
[2,"011607002001",null,"所有外侧窗台拆除原有防水",null,"1.名称：所有外侧窗台拆除原有防水\n2.其他：满足规范及设计要求",null,"10m2",0.63]
[3,"010902002022",null,"室外窗台二布三涂",null,"1.名称：室外窗台二布三涂\n2.工作内容：调配涂料,粘贴纤维布,刷涂料\n3.其他：满足规范及设计要求",null,"100m2",0.063]
[4,"01B010",null,"8t吊车",null,"1.满足规范及设计要求",null,"元",0.5]
[{"$nulls":3},"新园一期6#（A座）地面修缮"]
[1,"011602001001",null,"混凝土构件拆除 混凝土地面",null,"1.名称：拆除混凝土地面\n2.其他：满足规范及设计要求",null,"m3",0.738]
[2,"011616001015",null,"建筑垃圾外运 运距10000m",null,"1.名称：建筑垃圾外运\n2.做法：运距10km\n3.满足规范及设计要求",null,"10m3",0.0738]
[3,"011605001001",null,"平面块料拆除 楼地面 地面砖",null,"1.名称：地砖拆除\n2.满足规范及设计要求",null,"10m2",1.476]
[4,"011105004001",null,"原踢脚线拆除",null,"1.名称：踢脚线拆除\n2.满足规范及设计要求",null,"100m2",0.03]
[5,"011105004003",null,"塑料板踢脚线 粘贴",null,"1.名称：踢脚线\n2.做法：PVC踢脚线\n3.满足规范及设计要求",null,"100m2",0.03]
[6,"011102003002",null,"块料楼地面 陶瓷地面砖 0.36m2以内",null,"1.名称：地砖\n2.做法：600*600釉面砖\n3.满足规范及设计要求",null,"100m2",0.1476]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":5},"标段：",{"$nulls":4},"第  2  页  共  8  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[7,"011101001006",null,"水泥砂浆找平层 50mm",null,"1.名称：水泥砂浆找平层\n2.做法：厚度50mm厚\n3.满足规范及设计要求",null,"100m2",0.1476]
[{"$nulls":3},"新园三期B组团门修缮"]
[1,"010805005003",null,"更换钢化磨砂玻璃门",null,"1.名称：更换磨砂玻璃门\n2.满足规范及设计要求",null,"100m2",0.017876]
[2,"011610001001",null,"原有门拆除",null,"1.名称：门拆除\n2.满足规范及设计要求",null,"10樘",0.1]
[{"$nulls":3},"新园一期水泵房门前消防管线渗漏维修"]
[1,"041001002007",null,"拆除人行道 方砖",null,"1.名称：拆除方砖\n2.满足设计及相关规范要求",null,"100m2",0.4047]
[2,"041001014011",null,"拆除原有水稳层",null,"1.名称：拆除原有水稳层\n2.满足设计及相关规范要求",null,"1000m3",0.006475]
[3,"041001001003",null,"拆除混凝土类路面层 机械拆除(无筋) 厚20cm内",null,"1.名称：拆除混凝土散水（200mm厚）\n2.满足图纸及相关规范设计要求",null,"100m2",0.298]
[4,"040105008004",null,"机械装石渣",null,"1.机械装石渣\n2.满足图纸及规范设计要求",null,"1000m3",0.012435]
[5,"040105009006",null,"运石渣 运距10km",null,"1.机械运石渣\n2.满足图纸及规范设计要求",null,"1000m3",0.012435]
[6,"040204004027",null,"混凝土200mm厚c30混凝土",null,"1.名称：混凝土散水\n2.做法：C30混凝土 200mm厚\n3.满足图纸及相关规范设计要求",null,"10m3",1.4054]
[7,"040204006002",null,"检查井、窨井 升高30cm",null,"1.名称：提井\n2.满足规范及设计要求",null,"座",2]
[{"$nulls":3},"新园二期2#厂房外墙、屋面修缮"]
[1,"011601001002",null,"拆除原女儿墙",null,"1.名称：拆除砌体女儿墙\n2.满足规范及设计要求",null,"m3",11.060928]
[2,"011604002007",null,"立面抹灰层拆除 墙柱面 水泥及混合砂浆面",null,"1.名称：水泥砂浆铲除\n2.满足规范及设计要求",null,"10m2",16.641]
[3,"011616001016",null,"建筑垃圾外运 运距10000m",null,"1.名称：建筑垃圾外运\n2.做法：运距10km\n3.满足规范及设计要求",null,"10m3",1.705169]
[4,"010401003004",null,"女儿墙 墙厚",null,"1.名称：女儿墙",null,"10m3",1.082117]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":5},"标段：",{"$nulls":4},"第  3  页  共  8  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":3},"370mm",null,"2.做法：370mm砌体墙\n3.满足规范及设计要求"]
[5,"010507005002",null,"现浇混凝土其它构件 压顶",null,"1.名称：混凝土压顶\n2.砼级别：C30\n3.满足规范及设计要求",null,"10m3",0.178536]
[6,"011702028001",null,"现浇混凝土模板 扶手压顶 复合模板木支撑",null,"1.名称：压顶模版\n2.满足规范及设计要求",null,"100m2",0.107952]
[7,"010515001001",null,"现浇构件圆钢筋 钢筋HPB300 直径6.5mm",null,"1.钢筋种类、规格：现浇构件钢筋6.5\n2.工作内容：钢筋制作、运输、绑扎、安装等\n3.满足图纸及相关规范设计要求",null,"t",0.02321]
[8,"010515001005",null,"现浇构件圆钢筋 钢筋HPB300 直径14mm",null,"1.钢筋种类、规格：现浇构件钢筋14\n2.工作内容：钢筋制作、运输、绑扎、安装等\n3.满足图纸及相关规范设计要求",null,"t",0.150718]
[9,"011201004006",null,"立面砂浆找平层、界面剂 打底找平 10mm厚",null,"1.名称：界面剂\n2.做法：10mm厚\n3.满足规范及设计要求",null,"100m2",2.5241]
[10,"011201001002",null,"一般抹灰 外墙 (14+6mm)",null,"1.名称：外墙抹灰\n2.做法：1:2.5水泥砂浆 20mm厚\n3.满足规范及设计要求",null,"100m2",2.5241]
[11,"011201001013",null,"一般抹灰 挂钢丝网",null,"1.名称：钢丝挂网\n2.满足规范及设计要求",null,"100m2",2.5241]
[12,"011001003034",null,"墙面 抗裂保护层 玻纤网格布抗裂砂浆 厚度 4mm",null,"1.名称：玻纤网格布抗裂砂浆\n2.做法：6mm厚\n3.满足规范及设计要求",null,"100m2",2.1672]
[13,"011407001026",null,"抗碱封底涂料 墙面",null,"1.名称：抗碱封底涂料\n2.满足规范及设计要求",null,"100m2",2.1672]
[14,"011407001027",null,"外墙丙烯酸酯涂料 墙面 二遍",null,"1.名称：外墙涂料\n2.做法：外墙彩色涂料\n3.满足规范及设计要求",null,"100m2",2.1672]
[15,"011502001005",null,"钢板压条-20*2",null,"1.名称：钢板压条\n2.做法：20*2\n3.满足规范及设计要求",null,"100m",0.4152]
[16,"010902007002",null,"屋面天沟、檐沟 镀锌铁皮排水 天沟、泛水",null,"1.名称：天沟\n2.做法：镀锌铁皮\n3.满足规范及设计要求",null,"100m",0.215]
[17,"010902001010",null,"改性沥青卷材 热熔法2层",null,"1.名称：屋面防水卷材\n2.做法：3mm+4mm双层改性沥青防水卷材  -25°",null,"100m2",1.469844]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":5},"标段：",{"$nulls":4},"第  4  页  共  8  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":5},"3.满足规范及设计要求"]
[18,"010902001025",null,"改性沥青卷材 热熔法层（附加层）",null,"1.名称：屋面防水卷附加层\n2.做法：3mm双层改性沥青防水卷材  -25°\n3.满足规范及设计要求",null,"100m2",0.4004]
[19,"010902001024",null,"改性沥青卷材 热熔法一层",null,"1.名称：屋面防水卷材\n2.做法：4mm单层改性沥青防水卷材  -25°\n3.满足规范及设计要求",null,"100m2",1.0955]
[20,"010902004005",null,"屋面排水管 铸铁管排水 雨水口（利旧）",null,"1.名称：雨水口\n2.做法：利旧\n3.满足规范及设计要求",null,"10个",0.2]
[21,"011508004001",null,"金属字500*120",null,"1.名称：金属字制作安装\n2.做法：500*120\n3.满足规范及设计要求",null,"10个",0.5]
[22,"01B011",null,"12t吊车",null,"1.满足规范及设计要求",null,"台班",3.5]
[{"$nulls":3},"新园一期5#（B座)玻璃门炸裂修缮"]
[1,"010805005005",null,"原有玻璃拆除",null,"1.名称：拆除玻璃\n2.满足规范及设计要求",null,"100m2",0.018056]
[2,"010805005004",null,"更换玻璃",null,"1.名称：更换玻璃\n2.满足规范及设计要求",null,"100m2",0.018056]
[3,"01B009",null,"玻璃打胶",null,"1.名称：窗外框打胶（含拆除及安装）\n2.其他：满足规范及设计要求",null,"m",6.36]
[{"$nulls":3},"新园二期1#委托单号084"]
[1,"011602001005",null,"混凝土构件拆除 混凝土地面",null,"1.名称：拆除混凝土地面\n2.其他：满足规范及设计要求",null,"m3",0.32]
[2,"011616001017",null,"建筑垃圾外运 运距10000m",null,"1.名称：建筑垃圾外运\n2.做法：运距10km\n3.满足规范及设计要求",null,"10m3",0.032]
[3,"011605001005",null,"平面块料拆除 楼地面 地面砖",null,"1.名称：地砖拆除\n2.满足规范及设计要求",null,"10m2",0.64]
[4,"011102003003",null,"块料楼地面 陶瓷地面砖 0.64m2以内",null,"1.名称：地砖\n2.做法：800*800釉面砖\n3.满足规范及设计要求",null,"100m2",0.064]
[5,"011101001010",null,"水泥砂浆找平层 50mm",null,"1.名称：水泥砂浆找平层\n2.做法：厚度50mm厚\n3.满足规范及设计要求",null,"100m2",0.064]
[6,"011604002002",null,"立面抹灰层拆除 ",null,"1.名称：水泥砂浆铲除",null,"10m2",9.5202]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":5},"标段：",{"$nulls":4},"第  5  页  共  8  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":3},"墙柱面 水泥及混合砂浆面",null,"2.满足规范及设计要求"]
[7,"011616001018",null,"建筑垃圾外运 运距10000m",null,"1.名称：建筑垃圾外运\n2.做法：运距10km\n3.满足规范及设计要求",null,"10m3",0.342727]
[8,"011201004001",null,"立面砂浆找平层、界面剂 打底找平 10mm厚",null,"1.名称：界面剂\n2.做法：10mm厚\n3.满足规范及设计要求",null,"100m2",0.95202]
[9,"011201001001",null,"一般抹灰 内墙 (14+6mm)",null,"1.名称：内墙抹灰\n2.做法：1:2.5水泥砂浆 20mm厚\n3.满足规范及设计要求",null,"100m2",0.95202]
[10,"011201001010",null,"一般抹灰 挂钢丝网",null,"1.名称：钢丝挂网\n2.满足规范及设计要求",null,"100m2",0.95202]
[11,"011001003022",null,"墙面 抗裂保护层 玻纤网格布抗裂砂浆 厚度 4mm",null,"1.名称：玻纤网格布抗裂砂浆\n2.做法：6mm厚\n3.满足规范及设计要求",null,"100m2",0.95202]
[12,"011407001024",null,"抗碱封底涂料 墙面",null,"1.名称：抗碱封底涂料\n2.满足规范及设计要求",null,"100m2",0.95202]
[13,"011407001007",null,"外墙丙烯酸酯涂料 墙面 二遍",null,"1.名称：外墙涂料\n2.做法：外墙彩色涂料\n3.满足规范及设计要求",null,"100m2",0.95202]
[{"$nulls":3},"新园二期11#委托单号060"]
[1,"011605001002",null,"平面块料拆除 楼地面 石材面",null,"1.名称：拆除火烧板\n2.满足设计及相关规范要求",null,"10m2",0.996]
[2,"011616001005",null,"建筑垃圾外运 运距10000m",null,"1.名称：建筑垃圾外运\n2.做法：运距10km\n3.满足规范及设计要求",null,"10m3",0.0498]
[3,"011102001002",null,"原有台阶更换理石砖",null,"1.名称：更换理石\n2.做法：600*600大理石\n3.满足规范及设计要求",null,"100m2",0.0996]
[{"$nulls":3},"新园一期5#台阶,4A车棚"]
[1,"011605001009",null,"平面块料拆除 楼地面 石材面",null,"1.名称：拆除火烧板\n2.满足设计及相关规范要求",null,"10m2",0.9]
[2,"011616001019",null,"建筑垃圾外运 运距10000m",null,"1.名称：建筑垃圾外运\n2.做法：运距10km\n3.满足规范及设计要求",null,"10m3",0.045]
[3,"011102001005",null,"原有台阶更换理石砖（利旧）",null,"1.名称：台阶更换理石砖\n2.做法：利旧\n3.满足规范及设计要求",null,"100m2",0.09]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":5},"标段：",{"$nulls":4},"第  6  页  共  8  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[4,"011607001003",null,"刚性层拆除 采光屋面 型钢龙骨",null,"1.名称：拆除彩钢屋面\n2.满足设计及相关规范要求",null,"10m2",3.15]
[5,"010609009012",null,"屋面板安装 采光板",null,"1.名称：阳光板\n2.满足规范及设计要求",null,"100m2",0.315]
[{"$nulls":3},"新园一期18#更换玻璃"]
[1,"010805005010",null,"原有玻璃拆除",null,"1.名称：拆除玻璃\n2.满足规范及设计要求",null,"100m2",0.0576]
[2,"010805005012",null,"更换玻璃",null,"1.名称：更换玻璃\n2.满足规范及设计要求",null,"100m2",0.0576]
[{"$nulls":3},"新园一期北门卫换塑钢门"]
[1,"010802001004",null,"更换塑钢门",null,"1.名称：更换塑钢门\n2.满足规范及设计要求",null,"100m2",0.0156]
[2,"011610001007",null,"原有门拆除",null,"1.名称：门拆除\n2.满足规范及设计要求",null,"10樘",0.1]
[{"$nulls":3},"新园一期5#2楼更换玻璃"]
[1,"010805005011",null,"原有玻璃拆除",null,"1.名称：拆除玻璃\n2.满足规范及设计要求",null,"100m2",0.020698]
[2,"010805005013",null,"更换玻璃",null,"1.名称：更换玻璃\n2.满足规范及设计要求",null,"100m2",0.020698]
[{"$nulls":3},"新园一期6#629房间更换地砖"]
[1,"011602001006",null,"混凝土构件拆除 混凝土地面",null,"1.名称：拆除混凝土地面\n2.其他：满足规范及设计要求",null,"m3",0.108]
[2,"011616001020",null,"建筑垃圾外运 运距10000m",null,"1.名称：建筑垃圾外运\n2.做法：运距10km\n3.满足规范及设计要求",null,"10m3",0.0108]
[3,"011605001012",null,"平面块料拆除 楼地面 地面砖",null,"1.名称：地砖拆除\n2.满足规范及设计要求",null,"10m2",0.216]
[4,"011102003018",null,"块料楼地面 陶瓷地面砖 0.36m2以内",null,"1.名称：地砖\n2.做法：600*600釉面砖\n3.满足规范及设计要求",null,"100m2",0.0216]
[5,"011101001013",null,"水泥砂浆找平层 50mm",null,"1.名称：水泥砂浆找平层\n2.做法：厚度50mm厚\n3.满足规范及设计要求",null,"100m2",0.0216]
[{"$nulls":3},"新园一期6#505房间更换地砖"]
[1,"011602001007",null,"混凝土构件拆除 混凝土地面",null,"1.名称：拆除混凝土地面\n2.其他：满足规范及设计要求",null,"m3",0.144]
[2,"011616001021",null,"建筑垃圾外运 ",null,"1.名称：建筑垃圾外运",null,"10m3",0.0144]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":5},"标段：",{"$nulls":4},"第  7  页  共  8  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":3},"运距10000m",null,"2.做法：运距10km\n3.满足规范及设计要求"]
[3,"011605001013",null,"平面块料拆除 楼地面 地面砖",null,"1.名称：地砖拆除\n2.满足规范及设计要求",null,"10m2",0.288]
[4,"011102003019",null,"块料楼地面 陶瓷地面砖 0.36m2以内",null,"1.名称：地砖\n2.做法：600*600釉面砖\n3.满足规范及设计要求",null,"100m2",0.0288]
[5,"011101001014",null,"水泥砂浆找平层 50mm",null,"1.名称：水泥砂浆找平层\n2.做法：厚度50mm厚\n3.满足规范及设计要求",null,"100m2",0.0288]
[{"$nulls":3},"新园二期B组团北侧外墙开裂（4楼）"]
[1,"011604002008",null,"立面抹灰层拆除 墙柱面 水泥及混合砂浆面",null,"1.名称：水泥砂浆铲除\n2.满足规范及设计要求",null,"10m2",0.42]
[2,"011616001022",null,"建筑垃圾外运 运距10000m",null,"1.名称：建筑垃圾外运\n2.做法：运距10km\n3.满足规范及设计要求",null,"10m3",0.01512]
[3,"011201004007",null,"立面砂浆找平层、界面剂 打底找平 10mm厚",null,"1.名称：界面剂\n2.做法：10mm厚\n3.满足规范及设计要求",null,"100m2",0.042]
[4,"011201001016",null,"一般抹灰 内墙 (14+6mm)",null,"1.名称：内墙抹灰\n2.做法：1:2.5水泥砂浆 20mm厚\n3.满足规范及设计要求",null,"100m2",0.042]
[5,"011201001017",null,"一般抹灰 挂钢丝网",null,"1.名称：钢丝挂网\n2.满足规范及设计要求",null,"100m2",0.042]
[6,"011001003035",null,"墙面 抗裂保护层 玻纤网格布抗裂砂浆 厚度 4mm",null,"1.名称：玻纤网格布抗裂砂浆\n2.做法：6mm厚\n3.满足规范及设计要求",null,"100m2",0.042]
[7,"011407001028",null,"抗碱封底涂料 墙面",null,"1.名称：抗碱封底涂料\n2.满足规范及设计要求",null,"100m2",0.042]
[8,"011406001003",null,"真石漆 墙面",null,"1.名称：外墙真石漆\n2.满足规范及设计要求",null,"100m2",0.042]
[9,"01B012",null,"12t吊车",null,"1.满足规范及设计要求",null,"台班",1]
[{"$nulls":3},"新园一期17#东北侧天沟漏水"]
[1,"010902002023",null,"天沟二布三涂",null,"1.名称：室外窗台二布三涂\n2.工作内容：调配涂料,粘贴纤维布,刷涂料\n3.其他：满足规范及设计要求",null,"100m2",0.024]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":5},"标段：",{"$nulls":4},"第  8  页  共  8  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[2,"01B014",null,"8t吊车",null,"1.满足规范及设计要求",null,"元",0.5]
[{"$nulls":3},"新园三期B组团台阶维修"]
[1,"011605001010",null,"平面块料拆除 楼地面 石材面",null,"1.名称：拆除火烧板\n2.满足设计及相关规范要求",null,"10m2",0.432]
[2,"011616001023",null,"建筑垃圾外运 运距10000m",null,"1.名称：建筑垃圾外运\n2.做法：运距10km\n3.满足规范及设计要求",null,"10m3",0.0216]
[3,"011102001006",null,"原有台阶更换理石砖",null,"1.名称：更换理石\n2.做法：台阶火烧板\n3.满足规范及设计要求",null,"100m2",0.0432]
{"$rows_empty":21}
["本页小计"]
["合    计"]
[{"$nulls":11},"表—08"]

{"sheet":"表-11 总价措施项目清单与计价表","index":2,"n_rows":34,"n_cols":14,"rows_kept":34,"merged":[[0,0,0,10],[0,11,0,13],[1,0,1,13],[2,0,2,4],[2,5,2,10],[2,11,2,13],[3,1,3,2],[3,3,3,5],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,8,29,9],[29,10,29,11],[30,0,30,7],[30,8,30,9],[30,10,30,11],[31,0,31,3],[31,5,31,8],[31,9,31,13],[32,0,32,13],[33,0,33,1],[33,2,33,3],[33,5,33,8],[33,9,33,10],[33,11,33,13]],"flags":["formulas_cached_only"]}
[]
["总价措施项目清单与计价表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":4},"标段：",{"$nulls":5},"第  1  页  共  1  页"]
["序号","项目编码",null,"项目名称",null,null,"计算基础","费率(%)","金额(元)",null,"调整费率(%)",null,"调整后金额(元)","备注"]
[{"$nulls":3},"一般措施项目费(不含安全施工措施费)"]
[1,"041109001001",null,"文明施工和环境保护费(不含第2册)"]
[2,"041109001002",null,"文明施工和环境保护费 第2册"]
[3,"041109004001",null,"雨季施工费(不含第2册)"]
[4,"041109004002",null,"雨季施工费 第2册"]
[{"$nulls":3},"其他措施项目费"]
[5,"041109002001",null,"夜间施工增加费和白天施工需要照明费"]
[6,"041109003001",null,"二次搬运费"]
[7,"041109004003",null,"冬季施工费(不含第2册)"]
[8,"041109004004",null,"冬季施工费 第2册"]
[9,"041109007001",null,"已完工程及设备保护费"]
[10,"041109005001",null,"市政工程（含园林绿化工程）施工干扰费"]
{"$rows_empty":14}
["合    计"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["注：按施工方案计算的措施费，若无“计算基础”和“费率”的数值，也可只填“金额”数值，但应在备注栏说明施工方案出处或计算方法。"]
[{"$nulls":11},"表-11"]

{"sheet":"表-12 其他项目清单与计价汇总表","index":3,"n_rows":38,"n_cols":10,"rows_kept":38,"merged":[[0,0,0,7],[0,8,0,9],[1,0,1,9],[2,0,2,3],[2,4,2,7],[2,8,2,9],[3,0,3,1],[3,2,3,4],[3,5,3,6],[3,7,3,8],[4,0,4,1],[4,2,4,4],[4,5,4,6],[4,7,4,8],[5,0,5,1],[5,2,5,4],[5,5,5,6],[5,7,5,8],[6,0,6,1],[6,2,6,4],[6,5,6,6],[6,7,6,8],[7,0,7,1],[7,2,7,4],[7,5,7,6],[7,7,7,8],[8,0,8,1],[8,2,8,4],[8,5,8,6],[8,7,8,8],[9,0,9,1],[9,2,9,4],[9,5,9,6],[9,7,9,8],[10,0,10,1],[10,2,10,4],[10,5,10,6],[10,7,10,8],[11,0,11,1],[11,2,11,4],[11,5,11,6],[11,7,11,8],[12,0,12,1],[12,2,12,4],[12,5,12,6],[12,7,12,8],[13,0,13,1],[13,2,13,4],[13,5,13,6],[13,7,13,8],[14,0,14,1],[14,2,14,4],[14,5,14,6],[14,7,14,8],[15,0,15,1],[15,2,15,4],[15,5,15,6],[15,7,15,8],[16,0,16,1],[16,2,16,4],[16,5,16,6],[16,7,16,8],[17,0,17,1],[17,2,17,4],[17,5,17,6],[17,7,17,8],[18,0,18,1],[18,2,18,4],[18,5,18,6],[18,7,18,8],[19,0,19,1],[19,2,19,4],[19,5,19,6],[19,7,19,8],[20,0,20,1],[20,2,20,4],[20,5,20,6],[20,7,20,8],[21,0,21,1],[21,2,21,4],[21,5,21,6],[21,7,21,8],[22,0,22,1],[22,2,22,4],[22,5,22,6],[22,7,22,8],[23,0,23,1],[23,2,23,4],[23,5,23,6],[23,7,23,8],[24,0,24,1],[24,2,24,4],[24,5,24,6],[24,7,24,8],[25,0,25,1],[25,2,25,4],[25,5,25,6],[25,7,25,8],[26,0,26,1],[26,2,26,4],[26,5,26,6],[26,7,26,8],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,8],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,8],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,8],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,8],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,8],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,8],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,8],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,8],[35,0,35,4],[35,5,35,6],[35,7,35,8],[36,0,36,9],[37,1,37,2],[37,4,37,5],[37,6,37,7],[37,8,37,9]],"flags":["formulas_cached_only"]}
[]
["其他项目清单与计价汇总表"]
["工程名称：新园建筑零散维修（06）",{"$nulls":3},"标段：",{"$nulls":3},"第  1  页  共  1  页"]
["序号",null,"项目名称",null,null,"金额(元)",null,"结算金额(元)",null,"备注"]
["1",null,"暂列金额",{"$nulls":6},"明细详见表-12-1"]
["2",null,"暂估价"]
["2.1",null,"材料（工程设备）暂估价",null,null,"—",{"$nulls":3},"明细详见表-12-2"]
["2.2",null,"专业工程暂估价",{"$nulls":6},"明细详见表-12-3"]
["3",null,"计日工",{"$nulls":6},"明细详见表-12-4"]
["4",null,"总承包服务费",{"$nulls":6},"明细详见表-12-5"]
["5",null,"工程担保费"]
{"$rows_empty":24}
["合    计"]
["注：材料（工程设备）暂估单价进入清单项目综合单价，此处不汇总。"]
[{"$nulls":8},"表-12"]