{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["封-1 招标工程量清单封面【X新园3 #厂房屋面养护工程】","表-08 分部分项工程和单价措施项目清单与计价表【X新园3","表-11 总价措施项目清单与计价表【X新园3 #厂房屋面养","表-13 规费、税金项目清单与计价表【X新园3 #厂房屋面"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1 招标工程量清单封面【X新园3 #厂房屋面养护工程】","index":0,"n_rows":9,"n_cols":6,"rows_kept":9,"merged":[[0,0,0,1],[0,2,0,4],[0,5,0,6],[1,0,1,6],[2,0,2,6],[3,1,3,2],[3,3,3,5],[4,1,4,2],[4,3,4,5],[5,1,5,2],[5,3,5,5],[6,1,6,2],[6,3,6,5],[7,1,7,2],[7,3,7,5],[8,0,8,1],[8,2,8,4],[8,5,8,6]],"flags":["formulas_cached_only"]}
[null,null,"X新园3 #厂房屋面养护工程",null,null,"工程"]
["招标工程量清单"]
[]
[null,"招  标  人："]
[{"$nulls":3},"(单位盖章)"]
[null,"造价咨询人："]
[{"$nulls":3},"(单位盖章)"]
[{"$nulls":3},"   年   月   日"]
[{"$nulls":5},"封—1"]

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表【X新园3","index":1,"n_rows":73,"n_cols":14,"rows_kept":73,"merged":[[0,0,0,10],[0,11,0,13],[1,0,1,13],[2,0,2,5],[2,6,2,10],[2,11,2,13],[3,0,5,0],[3,1,5,2],[3,3,5,4],[3,5,5,6],[3,7,5,7],[3,8,5,9],[3,10,3,13],[4,10,5,11],[4,12,5,12],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,4],[7,5,7,6],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,4],[8,5,8,6],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,4],[9,5,9,6],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,4],[10,5,10,6],[10,8,10,9],[10,10,10,11],[11,0,11,9],[11,10,11,11],[12,0,12,1],[12,2,12,3],[12,4,12,5],[12,6,12,8],[12,9,12,10],[12,11,12,13],[13,0,13,10],[13,11,13,13],[14,0,14,13],[15,0,15,5],[15,6,15,10],[15,11,15,13],[16,0,18,0],[16,1,18,2],[16,3,18,4],[16,5,18,6],[16,7,18,7],[16,8,18,9],[16,10,16,13],[17,10,18,11],[17,12,18,12],[19,1,19,2],[19,3,19,4],[19,5,19,6],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,4],[20,5,20,6],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,4],[21,5,21,6],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,4],[22,5,22,6],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,4],[23,5,23,6],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,4],[24,5,24,6],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,4],[25,5,25,6],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,4],[26,5,26,6],[26,8,26,9],[26,10,26,11],[27,0,27,9],[27,10,27,11],[28,0,28,1],[28,2,28,3],[28,4,28,5],[28,6,28,8],[28,9,28,10],[28,11,28,13],[29,0,29,10],[29,11,29,13],[30,0,30,13],[31,0,31,5],[31,6,31,10],[31,11,31,13],[32,0,34,0],[32,1,34,2],[32,3,34,4],[32,5,34,6],[32,7,34,7],[32,8,34,9],[32,10,32,13],[33,10,34,11],[33,12,34,12],[35,1,35,2],[35,3,35,4],[35,5,35,6],[35,8,35,9],[35,10,35,11],[36,1,36,2],[36,3,36,4],[36,5,36,6],[36,8,36,9],[36,10,36,11],[37,1,37,2],[37,3,37,4],[37,5,37,6],[37,8,37,9],[37,10,37,11],[38,1,38,2],[38,3,38,4],[38,5,38,6],[38,8,38,9],[38,10,38,11],[39,1,39,2],[39,3,39,4],[39,5,39,6],[39,8,39,9],[39,10,39,11],[40,1,40,2],[40,3,40,4],[40,5,40,6],[40,8,40,9],[40,10,40,11],[41,1,41,2],[41,3,41,4],[41,5,41,6],[41,8,41,9],[41,10,41,11],[42,1,42,2],[42,3,42,4],[42,5,42,6],[42,8,42,9],[42,10,42,11],[43,1,43,2],[43,3,43,4],[43,5,43,6],[43,8,43,9],[43,10,43,11],[44,0,44,9],[44,10,44,11],[45,0,45,1],[45,2,45,3],[45,4,45,5],[45,6,45,8],[45,9,45,10],[45,11,45,13],[46,0,46,10],[46,11,46,13],[47,0,47,13],[48,0,48,5],[48,6,48,10],[48,11,48,13],[49,0,51,0],[49,1,51,2],[49,3,51,4],[49,5,51,6],[49,7,51,7],[49,8,51,9],[49,10,49,13],[50,10,51,11],[50,12,51,12],[52,1,52,2],[52,3,52,4],[52,5,52,6],[52,8,52,9],[52,10,52,11],[53,1,53,2],[53,3,53,4],[53,5,53,6],[53,8,53,9],[53,10,53,11],[54,1,54,2],[54,3,54,4],[54,5,54,6],[54,8,54,9],[54,10,54,11],[55,1,55,2],[55,3,55,4],[55,5,55,6],[55,8,55,9],[55,10,55,11],[56,1,56,2],[56,3,56,4],[56,5,56,6],[56,8,56,9],[56,10,56,11],[57,1,57,2],[57,3,57,4],[57,5,57,6],[57,8,57,9],[57,10,57,11],[58,1,58,2],[58,3,58,4],[58,5,58,6],[58,8,58,9],[58,10,58,11],[59,1,59,2],[59,3,59,4],[59,5,59,6],[59,8,59,9],[59,10,59,11],[60,1,60,2],[60,3,60,4],[60,5,60,6],[60,8,60,9],[60,10,60,11],[61,1,61,2],[61,3,61,4],[61,5,61,6],[61,8,61,9],[61,10,61,11],[62,1,62,2],[62,3,62,4],[62,5,62,6],[62,8,62,9],[62,10,62,11],[63,1,63,2],[63,3,63,4],[63,5,63,6],[63,8,63,9],[63,10,63,11],[64,1,64,2],[64,3,64,4],[64,5,64,6],[64,8,64,9],[64,10,64,11],[65,1,65,2],[65,3,65,4],[65,5,65,6],[65,8,65,9],[65,10,65,11],[66,1,66,2],[66,3,66,4],[66,5,66,6],[66,8,66,9],[66,10,66,11],[67,1,67,2],[67,3,67,4],[67,5,67,6],[67,8,67,9],[67,10,67,11],[68,1,68,2],[68,3,68,4],[68,5,68,6],[68,8,68,9],[68,10,68,11],[69,1,69,2],[69,3,69,4],[69,5,69,6],[69,8,69,9],[69,10,69,11],[70,0,70,9],[70,10,70,11],[71,0,71,9],[71,10,71,11],[72,0,72,1],[72,2,72,3],[72,4,72,5],[72,6,72,8],[72,9,72,10],[72,11,72,13]],"flags":["formulas_cached_only"]}
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：X新园3 #厂房屋面养护工程",{"$nulls":5},"标段：浑南国际新兴产业园一期3#厂房屋面、窗口、散水维修工程",{"$nulls":4},"第  1  页  共  4  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":3},"整个项目"]
[1,"010607005003",null,"化学除锈 金属面 一般",null,"1.部位：彩钢屋面\n2.先进行屋面的清理,对所有屋面进行化学除锈(喷化学除锈剂)\n4.满足招标文件、施工图纸设计、相应验收规范等要求并包含本项目施工过程全部工作内容。",null,"10m2",178.3928]
[2,"010607002001",null,"机械除锈 金属面 轻锈",null,"1.部位：彩钢屋面\n2.机械除锈、机械打磨,垃圾清运干净\n4.满足招标文件、施工图纸设计、相应验收规范等要求并包含本项目施工过程全部工作内容。",null,"10m2",178.3928]
[3,"011405001051",null,"水性金属防水漆二遍",null,"1.部位：彩钢屋面\n2.机器喷涂两遍水性金属防水漆。\n3.满足招标文件、施工图纸设计、相应验收规范等要求并包含本项目施工过程全部工作内容。",null,"m2",1614.848]
[4,"010902002021",null,"涂膜防水 丙烯酸",null,"1.部位：屋顶彩钢板所有搭接处、排气孔处及屋脊处、局部缺钉处加燕尾钉固定(包括拆除及安装)暂按50%考虑。\n2.涂刷第四遍防水涂料\n3.涂刷第三遍防水涂料,铺贴第二层无纺布\n4.涂刷两遍防水涂料,铺贴第一层无纺布\n5.彩钢屋面防水涂料采用丙烯酸脂防水涂料，防水宽度不小于200mm,无纺布厚度0.35mm,每平方80 克重。\n6.每个钉眼处做两布四涂防水处理,每个钉尺寸为200mmx200mm\n7.防水透明胶为以特种共聚物乳液为基料精制而成的高分子柔性透明无色的液态涂料\n8.屋脊顶部防水全包,屋脊宽度420mm,高度70mm,每侧防水各宽出100mm。",null,"100m2",5.8682]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：X新园3 #厂房屋面养护工程",{"$nulls":5},"标段：浑南国际新兴产业园一期3#厂房屋面、窗口、散水维修工程",{"$nulls":4},"第  2  页  共  4  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":5},"9.满足招标文件、施工图纸设计、相应验收规范等要求并包含本项目施工过程全部工作内容。"]
[5,"010902002022",null,"涂膜防水 丙烯酸",null,"1.部位：屋顶天沟。\n2.涂刷第三遍防水涂料\n3.铺贴第一层无纺布\n4.涂刷两遍防水涂料\n5.清理打磨屋面天沟\n6.满足招标文件、施工图纸设计、相应验收规范等要求并包含本项目施工过程全部工作内容。",null,"100m2",1.06]
[6,"010609009011",null,"屋面板安装 彩钢夹芯板",null,"1.部位：1-2和C-E轴交接处。\n2.在原彩钢板屋面上重新附加一层彩钢板并打钉固定\n3.尺寸为15mx4mx75mm",null,"100m2",0.6]
[7,"010606011003",null,"天沟饰面板（天沟下面的封闭板）更换",null,"1.部位：屋面\n2.天沟底板更换\n3.材质：彩钢板",null,"10m",4]
[8,"010606011004",null,"天沟饰面板（天沟下面的封闭板）更换",null,"1.部位：屋面\n2.天沟底板更换\n3.材质：彩钢板",null,"10m",1]
[9,"010902004005",null,"屋面排水管 铸铁管排水 雨水口",null,"1.部位：屋顶\n2.原PVC雨水口拆除清理\n3.铸铁雨水口安装\n4.直径110mm弯头两个，卡子两个。",null,"10个",0.1]
[10,"01B003",null,"室外窗台板1防水修缮",null,"1.部位：外墙\n2.原有窗台板防水拆除清理\n3.与窗户接缝处采用耐候密封胶打胶密封，胶缝宽度不小于20mm。\n4.重新做两布四涂防水处理。\n5.长度3500mm，宽度均为200mm。",null,"个",32]
[11,"01B004",null,"室外窗台板2防水修缮",null,"1.部位：外墙\n2.原有窗台板防水拆除清理\n3.与窗户接缝处采用耐候密封胶打胶密封，胶缝宽度不小于20mm。\n4.重新做两布四涂防水处理。",null,"个",1]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：X新园3 #厂房屋面养护工程",{"$nulls":5},"标段：浑南国际新兴产业园一期3#厂房屋面、窗口、散水维修工程",{"$nulls":4},"第  3  页  共  4  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":5},"5.长度4500mm，宽度均为200mm。"]
[12,"01B005",null,"室外窗台板3防水修缮",null,"1.部位：外墙\n2.原有窗台板防水拆除清理\n3.与窗户接缝处采用耐候密封胶打胶密封，胶缝宽度不小于20mm。\n4.重新做两布四涂防水处理。\n5.长度2400mm，宽度均为200mm。",null,"个",2]
[13,"01B006",null,"室外窗台板4防水修缮",null,"1.部位：外墙。\n2.原有窗台板防水拆除清理\n3.与窗户接缝处采用耐候密封胶打胶密封，胶缝宽度不小于20mm。\n4.重新做两布四涂防水处理。\n5.长度5500mm，宽度均为200mm。",null,"个",16]
[14,"010809003003",null,"室内窗台板1更换",null,"1.部位：室内。\n2.原有窗台板拆除清理\n3.更换彩钢板窗台板\n4.长度2400mm，宽度均为160mm。2个",null,"10m2",0.0768]
[15,"010809003004",null,"室内窗台板2更换",null,"1.部位：室内。\n2.原有窗台板拆除清理\n3.更换彩钢板窗台板\n4.长度3500mm，宽度均为160mm。4个",null,"10m2",0.224]
[16,"010809003002",null,"室内窗台板3更换",null,"1.部位：室内\n2.原有窗台板拆除清理\n3.更换彩钢板窗台板\n4.长度5500mm，宽度均为160mm。3个",null,"10m2",0.264]
[17,"011210003004",null,"玻璃1更换",null,"1.部位：室外\n2.原有破损玻璃拆除清理\n3.更换玻璃\n4.尺寸为1070mmx1670mm，2块",null,"100m2",0.035738]
[18,"011210003008",null,"玻璃2更换",null,"1.部位：室外\n2.原有破损玻璃拆除清理\n3.更换玻璃\n4.尺寸为1570mmx1670mm",null,"100m2",0.026219]
[19,"011703001001",null,"垂直运输",null,"1.垂直运输\n2.满足招标文件、施工图纸设计、相应验收规范等",null,"项",1]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：X新园3 #厂房屋面养护工程",{"$nulls":5},"标段：浑南国际新兴产业园一期3#厂房屋面、窗口、散水维修工程",{"$nulls":4},"第  4  页  共  4  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":5},"要求并包含本项目施工过程全部工作内容。"]
[20,"011602001001",null,"混凝土构件拆除 混凝土地面",null,"1.原散水凿除\n2.依据现场实际情况\n3.满足图纸、招标文件及施工规范相关要求",null,"m2",138.56]
[21,"010507001001",null,"现浇混凝土其它构件 混凝土散水 预拌混凝土",null,"1、部位：散水\n2、做法：素土夯实，向外放坡5%，C20混凝土60厚,撒1:1水泥细砂压实赶光，每隔6m需设伸缩缝一道,缝宽20,散水与外墙间设通长缝,缝宽10,缝内填沥青胶泥。\n3、应满足招标文件、设计图纸、技术要求及有关施工验收规范的标准等",null,"10m2水平投影面积",13.856]
[22,"010404001012",null,"垫层 碎石 灌浆",null,"1、部位：散水\n2、做法：卵石灌M2.5混合砂浆  150厚\n3、应满足招标文件、设计图纸、技术要求及有关施工验收规范的标准等",null,"10m3",2.0784]
[23,"01B001",null,"高空作业措施费",null,"1.高空防护\n2.满足设计及相关规范要求",null,"项",1]
{"$rows_empty":13}
["本页小计"]
["合    计"]
[{"$nulls":11},"表—08"]

{"sheet":"表-11 总价措施项目清单与计价表【X新园3 #厂房屋面养","index":2,"n_rows":35,"n_cols":14,"rows_kept":35,"merged":[[0,0,0,10],[0,11,0,13],[1,0,1,13],[2,0,2,4],[2,5,2,10],[2,11,2,13],[3,1,3,2],[3,3,3,5],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,8,30,9],[30,10,30,11],[31,0,31,7],[31,8,31,9],[31,10,31,11],[32,0,32,3],[32,5,32,8],[32,9,32,13],[33,0,33,13],[34,0,34,1],[34,2,34,3],[34,5,34,8],[34,9,34,10],[34,11,34,13]],"flags":["formulas_cached_only"]}
[]
["总价措施项目清单与计价表"]
["工程名称：X新园3 #厂房屋面养护工程",{"$nulls":4},"标段：浑南国际新兴产业园一期3#厂房屋面、窗口、散水维修工程",{"$nulls":5},"第  1  页  共  1  页"]
["序号","项目编码",null,"项目名称",null,null,"计算基础","费率(%)","金额(元)",null,"调整费率(%)",null,"调整后金额(元)","备注"]
[{"$nulls":3},"一般措施项目费(不含安全施工措施费)"]
[1,"011707001001",null,"文明施工和环境保护费"]
[2,"011707005001",null,"雨季施工费"]
[{"$nulls":3},"其他措施项目费"]
[3,"011707002001",null,"夜间施工增加费和白天施工需要照明费"]
[4,"011707004001",null,"二次搬运费"]
[5,"011707005002",null,"冬季施工费"]
[6,"011707007001",null,"已完工程及设备保护费"]
[7,"041109005001",null,"市政工程（含园林绿化工程）施工干扰费"]
{"$rows_empty":18}
["合    计"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["注：按施工方案计算的措施费，若无“计算基础”和“费率”的数值，也可只填“金额”数值，但应在备注栏说明施工方案出处或计算方法。"]
[{"$nulls":11},"表-11"]

{"sheet":"表-13 规费、税金项目清单与计价表【X新园3 #厂房屋面","index":3,"n_rows":47,"n_cols":11,"rows_kept":47,"merged":[[0,0,0,7],[0,8,0,10],[1,0,1,10],[2,0,2,3],[2,4,2,7],[2,8,2,10],[3,1,3,4],[3,5,3,6],[3,7,3,8],[4,1,4,4],[4,5,4,6],[4,7,4,8],[5,1,5,4],[5,5,5,6],[5,7,5,8],[6,1,6,4],[6,5,6,6],[6,7,6,8],[7,1,7,4],[7,5,7,6],[7,7,7,8],[8,1,8,4],[8,5,8,6],[8,7,8,8],[9,1,9,4],[9,5,9,6],[9,7,9,8],[10,1,10,4],[10,5,10,6],[10,7,10,8],[11,1,11,4],[11,5,11,6],[11,7,11,8],[12,1,12,4],[12,5,12,6],[12,7,12,8],[13,1,13,4],[13,5,13,6],[13,7,13,8],[14,1,14,4],[14,5,14,6],[14,7,14,8],[15,1,15,4],[15,5,15,6],[15,7,15,8],[16,1,16,4],[16,5,16,6],[16,7,16,8],[17,1,17,4],[17,5,17,6],[17,7,17,8],[18,1,18,4],[18,5,18,6],[18,7,18,8],[19,1,19,4],[19,5,19,6],[19,7,19,8],[20,1,20,4],[20,5,20,6],[20,7,20,8],[21,1,21,4],[21,5,21,6],[21,7,21,8],[22,1,22,4],[22,5,22,6],[22,7,22,8],[23,1,23,4],[23,5,23,6],[23,7,23,8],[24,1,24,4],[24,5,24,6],[24,7,24,8],[25,1,25,4],[25,5,25,6],[25,7,25,8],[26,1,26,4],[26,5,26,6],[26,7,26,8],[27,1,27,4],[27,5,27,6],[27,7,27,8],[28,1,28,4],[28,5,28,6],[28,7,28,8],[29,1,29,4],[29,5,29,6],[29,7,29,8],[30,1,30,4],[30,5,30,6],[30,7,30,8],[31,1,31,4],[31,5,31,6],[31,7,31,8],[32,1,32,4],[32,5,32,6],[32,7,32,8],[33,1,33,4],[33,5,33,6],[33,7,33,8],[34,1,34,4],[34,5,34,6],[34,7,34,8],[35,1,35,4],[35,5,35,6],[35,7,35,8],[36,1,36,4],[36,5,36,6],[36,7,36,8],[37,1,37,4],[37,5,37,6],[37,7,37,8],[38,1,38,4],[38,5,38,6],[38,7,38,8],[39,1,39,4],[39,5,39,6],[39,7,39,8],[40,1,40,4],[40,5,40,6],[40,7,40,8],[41,1,41,4],[41,5,41,6],[41,7,41,8],[42,1,42,4],[42,5,42,6],[42,7,42,8],[43,1,43,4],[43,5,43,6],[43,7,43,8],[44,0,44,9],[45,0,45,3],[45,4,45,5],[45,6,45,10],[46,0,46,1],[46,4,46,5],[46,6,46,7],[46,8,46,10]],"flags":["formulas_cached_only"]}
[]
["规费、税金项目计价表"]
["工程名称：X新园3 #厂房屋面养护工程",{"$nulls":3},"标段：浑南国际新兴产业园一期3#厂房屋面、窗口、散水维修工程",{"$nulls":3},"第  1  页  共  1  页"]
["序号","项目名称",{"$nulls":3},"计算基础",null,"计算基数",null,"计算费率(%)","金额（元）"]
["1","规费"]
["1.1","社会保障费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["1.4","其它"]
["1.5","工伤保险"]
["2","税金"]
{"$rows_empty":33}
["合    计"]
["编制人（造价人员）：",{"$nulls":5},"复核人（造价工程师）："]
[{"$nulls":8},"表-13"]