{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["表-08 分部分项工程和单价措施项目清单与计价表","表-11 总价措施项目清单与计价表","表-12 其他项目清单与计价汇总表","表-13 规费、税金项目清单与计价表"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表-08 分部分项工程和单价措施项目清单与计价表","index":0,"n_rows":69,"n_cols":14,"rows_kept":69,"merged":[[0,0,0,10],[0,11,0,13],[1,0,1,13],[2,0,2,5],[2,6,2,10],[2,11,2,13],[3,0,5,0],[3,1,5,2],[3,3,5,4],[3,5,5,6],[3,7,5,7],[3,8,5,9],[3,10,3,13],[4,10,5,11],[4,12,5,12],[6,1,6,2],[6,3,6,4],[6,5,6,6],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,4],[7,5,7,6],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,4],[8,5,8,6],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,4],[9,5,9,6],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,4],[10,5,10,6],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,4],[11,5,11,6],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,4],[12,5,12,6],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,4],[13,5,13,6],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,4],[14,5,14,6],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,4],[15,5,15,6],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,4],[16,5,16,6],[16,8,16,9],[16,10,16,11],[17,0,17,9],[17,10,17,11],[18,0,18,1],[18,2,18,3],[18,4,18,5],[18,6,18,8],[18,9,18,10],[18,11,18,13],[19,0,19,10],[19,11,19,13],[20,0,20,13],[21,0,21,5],[21,6,21,10],[21,11,21,13],[22,0,24,0],[22,1,24,2],[22,3,24,4],[22,5,24,6],[22,7,24,7],[22,8,24,9],[22,10,22,13],[23,10,24,11],[23,12,24,12],[25,1,25,2],[25,3,25,4],[25,5,25,6],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,4],[26,5,26,6],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,4],[27,5,27,6],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,4],[28,5,28,6],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,4],[29,5,29,6],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,4],[30,5,30,6],[30,8,30,9],[30,10,30,11],[31,1,31,2],[31,3,31,4],[31,5,31,6],[31,8,31,9],[31,10,31,11],[32,1,32,2],[32,3,32,4],[32,5,32,6],[32,8,32,9],[32,10,32,11],[33,1,33,2],[33,3,33,4],[33,5,33,6],[33,8,33,9],[33,10,33,11],[34,1,34,2],[34,3,34,4],[34,5,34,6],[34,8,34,9],[34,10,34,11],[35,1,35,2],[35,3,35,4],[35,5,35,6],[35,8,35,9],[35,10,35,11],[36,1,36,2],[36,3,36,4],[36,5,36,6],[36,8,36,9],[36,10,36,11],[37,0,37,9],[37,10,37,11],[38,0,38,1],[38,2,38,3],[38,4,38,5],[38,6,38,8],[38,9,38,10],[38,11,38,13],[39,0,39,10],[39,11,39,13],[40,0,40,13],[41,0,41,5],[41,6,41,10],[41,11,41,13],[42,0,44,0],[42,1,44,2],[42,3,44,4],[42,5,44,6],[42,7,44,7],[42,8,44,9],[42,10,42,13],[43,10,44,11],[43,12,44,12],[45,1,45,2],[45,3,45,4],[45,5,45,6],[45,8,45,9],[45,10,45,11],[46,1,46,2],[46,3,46,4],[46,5,46,6],[46,8,46,9],[46,10,46,11],[47,1,47,2],[47,3,47,4],[47,5,47,6],[47,8,47,9],[47,10,47,11],[48,1,48,2],[48,3,48,4],[48,5,48,6],[48,8,48,9],[48,10,48,11],[49,1,49,2],[49,3,49,4],[49,5,49,6],[49,8,49,9],[49,10,49,11],[50,1,50,2],[50,3,50,4],[50,5,50,6],[50,8,50,9],[50,10,50,11],[51,1,51,2],[51,3,51,4],[51,5,51,6],[51,8,51,9],[51,10,51,11],[52,1,52,2],[52,3,52,4],[52,5,52,6],[52,8,52,9],[52,10,52,11],[53,1,53,2],[53,3,53,4],[53,5,53,6],[53,8,53,9],[53,10,53,11],[54,1,54,2],[54,3,54,4],[54,5,54,6],[54,8,54,9],[54,10,54,11],[55,1,55,2],[55,3,55,4],[55,5,55,6],[55,8,55,9],[55,10,55,11],[56,1,56,2],[56,3,56,4],[56,5,56,6],[56,8,56,9],[56,10,56,11],[57,1,57,2],[57,3,57,4],[57,5,57,6],[57,8,57,9],[57,10,57,11],[58,1,58,2],[58,3,58,4],[58,5,58,6],[58,8,58,9],[58,10,58,11],[59,1,59,2],[59,3,59,4],[59,5,59,6],[59,8,59,9],[59,10,59,11],[60,1,60,2],[60,3,60,4],[60,5,60,6],[60,8,60,9],[60,10,60,11],[61,1,61,2],[61,3,61,4],[61,5,61,6],[61,8,61,9],[61,10,61,11],[62,1,62,2],[62,3,62,4],[62,5,62,6],[62,8,62,9],[62,10,62,11],[63,1,63,2],[63,3,63,4],[63,5,63,6],[63,8,63,9],[63,10,63,11],[64,1,64,2],[64,3,64,4],[64,5,64,6],[64,8,64,9],[64,10,64,11],[65,1,65,2],[65,3,65,4],[65,5,65,6],[65,8,65,9],[65,10,65,11],[66,0,66,9],[66,10,66,11],[67,0,67,9],[67,10,67,11],[68,0,68,1],[68,2,68,3],[68,4,68,5],[68,6,68,8],[68,9,68,10],[68,11,68,13]],"flags":["formulas_cached_only"]}
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：浑南国际新兴产业园中心变电所升级改造项目-24定额（审核）",{"$nulls":5},"标段：",{"$nulls":4},"第  1  页  共  3  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":3},"新园一期变电所所低压电能智能化监测部分"]
[{"$nulls":3},"电气部分"]
[1,"030404022001",null,"控制器安装 主令",null,"1.名称:微机保护装置\n2.规格:三段式过流 AC220V\n3.满足建设单位、招标文件、图纸及规范要求",null,"台",29]
[2,"030411004163",null,"盘、柜、箱、板配线 导线截面(mm2) ≤2.5",null,"1.名称:盘、柜、箱、板配线\n2.规格：BVR-2.5mm²\n3.其他:满足图纸及相关验收规范要求",null,"10m",87]
[3,"030408002001",null,"室内铜芯控制电缆敷设 电缆芯数(芯) ≤6",null,"1.名称:R485通信电缆\n2.规格:DJYP2V22-2*2.5",null,"10m",29]
[4,"030402008003",null,"电流互感器安装 户内式电流(A) ≤2000",null,"1.名称:电流互感器\n2.规格：NLH2  0.5级 300/5        \n3.其他:满足图纸及相关验收规范要求",null,"台",9]
[5,"030402008007",null,"电流互感器安装 户内式电流(A) ≤2000",null,"1.名称:电流互感器\n2.规格：NLH2  0.5级 400/5        \n3.其他:满足图纸及相关验收规范要求",null,"台",12]
[6,"030402008008",null,"电流互感器安装 户内式电流(A) ≤2000",null,"1.名称:电流互感器\n2.规格：NLH2  0.5级 600/5        \n3.其他:满足图纸及相关验收规范要求",null,"台",15]
[7,"030402008009",null,"电流互感器安装 户内式电流(A) ≤2000",null,"1.名称:电流互感器\n2.规格：NLH2  0.5级 800/5        \n3.其他:满足图纸及相关验收规范要求",null,"台",9]
[8,"030402008010",null,"电流互感器安装 户内式电流(A) ≤2000",null,"1.名称:电流互感器\n2.规格：NLH2  0.5级 1000/5        \n3.其他:满足图纸及相关验收规范要求",null,"台",15]
[9,"030402008011",null,"电流互感器安装 户内式电流(A) ≤2000",null,"1.名称:电流互感器\n2.规格：NLH2  0.5级 1500/5        \n3.其他:满足图纸及相关验收规范要求",null,"台",3]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：浑南国际新兴产业园中心变电所升级改造项目-24定额（审核）",{"$nulls":5},"标段：",{"$nulls":4},"第  2  页  共  3  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[10,"030402008012",null,"电流互感器安装 户内式电流(A) ≤2000",null,"1.名称:电流互感器\n2.规格：NLH2  0.5级 2000/5        \n3.其他:满足图纸及相关验收规范要求",null,"台",18]
[11,"030402008004",null,"电流互感器安装 户内式电流(A) ≤8000",null,"1.名称:电流互感器\n2.规格：NLH2  0.5级 3000/5        \n3.其他:满足图纸及相关验收规范要求",null,"台",6]
[12,"030404019010",null,"组合控制开关安装 普通型（分励脱扣器）",null,"1.名称:分励脱扣器\n2.规格：230V\n3.其他:满足图纸及相关验收规范要求",null,"个",1]
[13,"040801015001",null,"微机后台监控系统",null,"1.名称：微机后台监控系统\n2.规格：通信管理机、物联网网关、云存储系统、监控软件、智能短信报警系统\n3.其它：满足有关施工验收及规范要求",null,"台",1]
[{"$nulls":3},"调试部分"]
[1,"030414001016",null,"保护装置系统调试 线路保护",null,"1.名称:线路保护\n2.满足建设单位、招标文件、图纸及规范要求",null,"套(台)",29]
[{"$nulls":3},"新园一期变电所8#厂房电源点迁移部分"]
[{"$nulls":3},"电气部分"]
[1,"030408001039",null,"室内敷设电力电缆 铝芯电力电缆敷设 电缆截面(mm2) ≤240",null,"1.名称:电力电缆\n2.规格:ZC-YJLV22-1kV-4*240mm2\n3.其他:满足图纸及相关验收规范要求",null,"10m",15]
[2,"030410004011",null,"断路器安装",null,"1.名称:万能式断路器\n2.规格：2000A\n3.其他:满足图纸及相关验收规范要求",null,"台",1]
[3,"030411004168",null,"盘、柜、箱、板配线 导线截面(mm2) ≤2.5",null,"1.名称:盘、柜、箱、板配线\n2.规格：BVR-2.5mm²\n3.其他:满足图纸及相关验收规范要求",null,"10m",2]
[4,"030403003003",null,"矩形铜母线安装 每相一片截面",{"$nulls":3},"m",3]
["本页小计"]
[{"$nulls":11},"表—08"]
[]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：浑南国际新兴产业园中心变电所升级改造项目-24定额（审核）",{"$nulls":5},"标段：",{"$nulls":4},"第  3  页  共  3  页"]
["序号","项目编码",null,"项目名称",null,"项目特征描述",null,"计量单位","工程量",null,"金额（元）"]
[{"$nulls":10},"综合单价",null,"合价","其中"]
[{"$nulls":13},"人工费+机械费"]
[{"$nulls":3},"(mm2) ≤1000"]
[5,"030408006020",null,"电力电缆中间头制作安装 1kV以下热(冷)缩式铝芯电力电缆 电缆截面(mm2) ≤240",null,"1.名称:电缆中间头\n2.规格：240mm²\n3.其他:满足图纸及相关验收规范要求",null,"个",6]
[6,"030408006063",null,"电力电缆终端头制作安装 1kV以下热(冷)缩式铝芯电力电缆 电缆截面(mm2) ≤240",null,"1.名称:电缆终端头\n2.规格：240mm²\n3.其他:满足图纸及相关验收规范要求",null,"个",6]
[{"$nulls":3},"调试部分"]
[1,"030414001007",null,"输配电装置系统调试 ≤1kV交流供电",null,"1.名称:≤1kV交流供电\n2.其他:满足图纸及相关验收规范要求",null,"系统",1]
[{"$nulls":3},"拆除部分"]
[1,"030408006077",null,"电力电缆终端头制作安装 10kV以下热(冷)缩式铝芯电力电缆 电缆截面(mm2) ≤240",null,"1.名称:电缆终端头拆除\n2.规格：240mm² 铝芯\n3.其他:满足图纸及相关验收规范要求",null,"个",6]
{"$rows_empty":14}
["本页小计"]
["合    计"]
[{"$nulls":11},"表—08"]

{"sheet":"表-11 总价措施项目清单与计价表","index":1,"n_rows":35,"n_cols":14,"rows_kept":35,"merged":[[0,0,0,10],[0,11,0,13],[1,0,1,13],[2,0,2,4],[2,5,2,10],[2,11,2,13],[3,1,3,2],[3,3,3,5],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,8,30,9],[30,10,30,11],[31,0,31,7],[31,8,31,9],[31,10,31,11],[32,0,32,3],[32,5,32,8],[32,9,32,13],[33,0,33,13],[34,0,34,1],[34,2,34,3],[34,5,34,8],[34,9,34,10],[34,11,34,13]],"flags":["formulas_cached_only"]}
[]
["总价措施项目清单与计价表"]
["工程名称：浑南国际新兴产业园中心变电所升级改造项目-24定额（审核）",{"$nulls":4},"标段：",{"$nulls":5},"第  1  页  共  1  页"]
["序号","项目编码",null,"项目名称",null,null,"计算基础","费率(%)","金额(元)",null,"调整费率(%)",null,"调整后金额(元)","备注"]
[{"$nulls":3},"一般措施项目费(不含安全施工措施费)"]
[1,"031302001001",null,"文明施工和环境保护费"]
[2,"031302005001",null,"雨季施工费"]
[{"$nulls":3},"其他措施项目费"]
[3,"031302002001",null,"夜间施工增加费和白天施工需要照明费"]
[4,"031302004001",null,"二次搬运费"]
[5,"031302006001",null,"已完工程及设备保护费"]
[6,"041109005001",null,"市政工程（含园林绿化工程）施工干扰费"]
{"$rows_empty":19}
["合    计"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["注：按施工方案计算的措施费，若无“计算基础”和“费率”的数值，也可只填“金额”数值，但应在备注栏说明施工方案出处或计算方法。"]
[{"$nulls":11},"表-11"]

{"sheet":"表-12 其他项目清单与计价汇总表","index":2,"n_rows":38,"n_cols":10,"rows_kept":38,"merged":[[0,0,0,7],[0,8,0,9],[1,0,1,9],[2,0,2,3],[2,4,2,7],[2,8,2,9],[3,0,3,1],[3,2,3,4],[3,5,3,6],[3,7,3,8],[4,0,4,1],[4,2,4,4],[4,5,4,6],[4,7,4,8],[5,0,5,1],[5,2,5,4],[5,5,5,6],[5,7,5,8],[6,0,6,1],[6,2,6,4],[6,5,6,6],[6,7,6,8],[7,0,7,1],[7,2,7,4],[7,5,7,6],[7,7,7,8],[8,0,8,1],[8,2,8,4],[8,5,8,6],[8,7,8,8],[9,0,9,1],[9,2,9,4],[9,5,9,6],[9,7,9,8],[10,0,10,1],[10,2,10,4],[10,5,10,6],[10,7,10,8],[11,0,11,1],[11,2,11,4],[11,5,11,6],[11,7,11,8],[12,0,12,1],[12,2,12,4],[12,5,12,6],[12,7,12,8],[13,0,13,1],[13,2,13,4],[13,5,13,6],[13,7,13,8],[14,0,14,1],[14,2,14,4],[14,5,14,6],[14,7,14,8],[15,0,15,1],[15,2,15,4],[15,5,15,6],[15,7,15,8],[16,0,16,1],[16,2,16,4],[16,5,16,6],[16,7,16,8],[17,0,17,1],[17,2,17,4],[17,5,17,6],[17,7,17,8],[18,0,18,1],[18,2,18,4],[18,5,18,6],[18,7,18,8],[19,0,19,1],[19,2,19,4],[19,5,19,6],[19,7,19,8],[20,0,20,1],[20,2,20,4],[20,5,20,6],[20,7,20,8],[21,0,21,1],[21,2,21,4],[21,5,21,6],[21,7,21,8],[22,0,22,1],[22,2,22,4],[22,5,22,6],[22,7,22,8],[23,0,23,1],[23,2,23,4],[23,5,23,6],[23,7,23,8],[24,0,24,1],[24,2,24,4],[24,5,24,6],[24,7,24,8],[25,0,25,1],[25,2,25,4],[25,5,25,6],[25,7,25,8],[26,0,26,1],[26,2,26,4],[26,5,26,6],[26,7,26,8],[27,0,27,1],[27,2,27,4],[27,5,27,6],[27,7,27,8],[28,0,28,1],[28,2,28,4],[28,5,28,6],[28,7,28,8],[29,0,29,1],[29,2,29,4],[29,5,29,6],[29,7,29,8],[30,0,30,1],[30,2,30,4],[30,5,30,6],[30,7,30,8],[31,0,31,1],[31,2,31,4],[31,5,31,6],[31,7,31,8],[32,0,32,1],[32,2,32,4],[32,5,32,6],[32,7,32,8],[33,0,33,1],[33,2,33,4],[33,5,33,6],[33,7,33,8],[34,0,34,1],[34,2,34,4],[34,5,34,6],[34,7,34,8],[35,0,35,4],[35,5,35,6],[35,7,35,8],[36,0,36,9],[37,1,37,2],[37,4,37,5],[37,6,37,7],[37,8,37,9]],"flags":["formulas_cached_only"]}
[]
["其他项目清单与计价汇总表"]
["工程名称：浑南国际新兴产业园中心变电所升级改造项目-24定额（审核）",{"$nulls":3},"标段：",{"$nulls":3},"第  1  页  共  1  页"]
["序号",null,"项目名称",null,null,"金额(元)",null,"结算金额(元)",null,"备注"]
["1",null,"暂列金额",{"$nulls":6},"明细详见表-12-1"]
["2",null,"暂估价"]
["2.1",null,"材料（工程设备）暂估价",null,null,"—",{"$nulls":3},"明细详见表-12-2"]
["2.2",null,"专业工程暂估价",{"$nulls":6},"明细详见表-12-3"]
["3",null,"计日工",{"$nulls":6},"明细详见表-12-4"]
["4",null,"总承包服务费",{"$nulls":6},"明细详见表-12-5"]
{"$rows_empty":25}
["合    计"]
["注：材料（工程设备）暂估单价进入清单项目综合单价，此处不汇总。"]
[{"$nulls":8},"表-12"]

{"sheet":"表-13 规费、税金项目清单与计价表","index":3,"n_rows":47,"n_cols":11,"rows_kept":47,"merged":[[0,0,0,7],[0,8,0,10],[1,0,1,10],[2,0,2,3],[2,4,2,7],[2,8,2,10],[3,1,3,4],[3,5,3,6],[3,7,3,8],[4,1,4,4],[4,5,4,6],[4,7,4,8],[5,1,5,4],[5,5,5,6],[5,7,5,8],[6,1,6,4],[6,5,6,6],[6,7,6,8],[7,1,7,4],[7,5,7,6],[7,7,7,8],[8,1,8,4],[8,5,8,6],[8,7,8,8],[9,1,9,4],[9,5,9,6],[9,7,9,8],[10,1,10,4],[10,5,10,6],[10,7,10,8],[11,1,11,4],[11,5,11,6],[11,7,11,8],[12,1,12,4],[12,5,12,6],[12,7,12,8],[13,1,13,4],[13,5,13,6],[13,7,13,8],[14,1,14,4],[14,5,14,6],[14,7,14,8],[15,1,15,4],[15,5,15,6],[15,7,15,8],[16,1,16,4],[16,5,16,6],[16,7,16,8],[17,1,17,4],[17,5,17,6],[17,7,17,8],[18,1,18,4],[18,5,18,6],[18,7,18,8],[19,1,19,4],[19,5,19,6],[19,7,19,8],[20,1,20,4],[20,5,20,6],[20,7,20,8],[21,1,21,4],[21,5,21,6],[21,7,21,8],[22,1,22,4],[22,5,22,6],[22,7,22,8],[23,1,23,4],[23,5,23,6],[23,7,23,8],[24,1,24,4],[24,5,24,6],[24,7,24,8],[25,1,25,4],[25,5,25,6],[25,7,25,8],[26,1,26,4],[26,5,26,6],[26,7,26,8],[27,1,27,4],[27,5,27,6],[27,7,27,8],[28,1,28,4],[28,5,28,6],[28,7,28,8],[29,1,29,4],[29,5,29,6],[29,7,29,8],[30,1,30,4],[30,5,30,6],[30,7,30,8],[31,1,31,4],[31,5,31,6],[31,7,31,8],[32,1,32,4],[32,5,32,6],[32,7,32,8],[33,1,33,4],[33,5,33,6],[33,7,33,8],[34,1,34,4],[34,5,34,6],[34,7,34,8],[35,1,35,4],[35,5,35,6],[35,7,35,8],[36,1,36,4],[36,5,36,6],[36,7,36,8],[37,1,37,4],[37,5,37,6],[37,7,37,8],[38,1,38,4],[38,5,38,6],[38,7,38,8],[39,1,39,4],[39,5,39,6],[39,7,39,8],[40,1,40,4],[40,5,40,6],[40,7,40,8],[41,1,41,4],[41,5,41,6],[41,7,41,8],[42,1,42,4],[42,5,42,6],[42,7,42,8],[43,1,43,4],[43,5,43,6],[43,7,43,8],[44,0,44,9],[45,0,45,3],[45,4,45,5],[45,6,45,10],[46,0,46,1],[46,4,46,5],[46,6,46,7],[46,8,46,10]],"flags":["formulas_cached_only"]}
[]
["规费、税金项目计价表"]
["工程名称：浑南国际新兴产业园中心变电所升级改造项目-24定额（审核）",{"$nulls":3},"标段：",{"$nulls":3},"第  1  页  共  1  页"]
["序号","项目名称",{"$nulls":3},"计算基础",null,"计算基数",null,"计算费率(%)","金额（元）"]
["1","规费"]
["1.1","社会保障费"]
["1.2","住房公积金"]
["1.3","其它"]
["2","税金"]
{"$rows_empty":35}
["合    计"]
["编制人（造价人员）：",{"$nulls":5},"复核人（造价工程师）："]
[{"$nulls":8},"表-13"]